## readme
Spreadsheet with XRF data for powdered modern leaves
Sheet1 | all the data, raw
Sheet2 | just the blade grinder test | Dci -> Dic
Sheet4 | Sheet 2 but PASTified
Sheet5 | Sheet1 but PASTified (no error, LOD to 0)
Sheet6 | info about what each sample is labeled what

## Sheet1
Reading No | Time | Type | Duration | Units | Sequence | Flags | SAMPLE | LOCATION | INSPECTOR | MISC | NOTE | User Login | Ba | Ba Error | Sb | Sb Error | Sn | Sn Error | Cd | Cd Error | Pd | Pd Error | Ag | Ag Error | Bal | Bal Error | Mo | Mo Error | Nb | Nb Error | Zr | Zr Error | Sr | Sr Error | Rb | Rb Error | Bi | Bi Error | As | As Error | Se | Se Error | Au | Au Error | Pb | Pb Error | W | W Error | Zn | Zn Error | Cu | Cu Error | Ni | Ni Error | Co | Co Error | Fe | Fe Error | Mn | Mn Error | Cr | Cr Error | V | V Error | Ti | Ti Error | Ca | Ca Error | K | K Error | Al | Al Error | P | P Error | Si | Si Error | Cl | Cl Error | S | S Error | Mg | Mg Error
3478 | 2025-05-11 16:44 | Mining | 301.09 | ppm | Final | -3mm | Gbi-0.3-Ti | ttec | ctb |  |  | Terraform | <LOD | 49.09 | <LOD | 19.74 | <LOD | 11.14 | 19.66 | 5.77 | 9.15 | 2.93 | 7.43 | 2.71 | 919567.81 | 436.46 | 1559.78 | 12.96 | 21.41 | 1.81 | 4.72 | 1.73 | 58.17 | 2.4 | 2.62 | 1 | <LOD | 3.73 | <LOD | 2.74 | <LOD | 1.52 | <LOD | 4.51 | <LOD | 3.11 | <LOD | 38.9 | <LOD | 7.28 | <LOD | 19.75 | <LOD | 28.02 | <LOD | 20.18 | <LOD | 46.11 | <LOD | 56.24 | <LOD | 20.16 | <LOD | 11.49 | 65.96 | 18.64 | 30770.08 | 413.54 | 34222.21 | 326.4 | <LOD | 347.71 | 4501 | 71 | 2363.6 | 122.58 | 3819.17 | 37.95 | 2996.56 | 38.35 | <LOD | 1390.86
3477 | 2025-05-11 16:38 | Mining | 300.64 | ppm | Final | -3mm | Gbi-0.3 | ttec | ctb |  |  | Terraform | <LOD | 51.09 | <LOD | 12.44 | <LOD | 11.6 | 21.47 | 6.06 | 8.08 | 2.97 | 5.43 | 2.72 | 914073.25 | 462.61 | 6.43 | 1.67 | 9.73 | 1.54 | 2.74 | 1.69 | 61.66 | 2.48 | 2.09 | 1 | <LOD | 3.44 | <LOD | 4.11 | <LOD | 1.5 | <LOD | 3.86 | <LOD | 2.52 | <LOD | 36.37 | <LOD | 6.84 | 16.15 | 9.25 | <LOD | 25.24 | <LOD | 19.29 | <LOD | 45.92 | <LOD | 53.23 | <LOD | 32.56 | <LOD | 14.19 | 56.72 | 20.84 | 33138.44 | 441.4 | 35487.26 | 340.1 | 937.83 | 254.52 | 4916.19 | 76.83 | 4058.62 | 154.99 | 3901.62 | 39.58 | 3285.88 | 41.63 | <LOD | 1395.46
3476 | 2025-05-11 16:32 | Mining | 300.09 | ppm | Final | -3mm | Gbi-0.2 | ttec | ctb |  |  | Terraform | <LOD | 51.61 | <LOD | 14.2 | 18.18 | 8.07 | 25.99 | 6.3 | 9.19 | 3.09 | 7.76 | 2.87 | 915039.13 | 472.63 | 5.77 | 1.72 | 8.66 | 1.57 | 4 | 1.76 | 61.55 | 2.55 | 2.37 | 1 | <LOD | 3.63 | <LOD | 2.7 | <LOD | 1.5 | <LOD | 4.63 | <LOD | 3.17 | <LOD | 40.87 | <LOD | 7.19 | <LOD | 14.06 | <LOD | 25.93 | <LOD | 19.88 | <LOD | 46.88 | <LOD | 56.88 | <LOD | 22.57 | <LOD | 11.34 | 63.21 | 21.49 | 31174.46 | 444.78 | 36829.61 | 359.54 | 700.54 | 259.49 | 4809.12 | 78.37 | 3503.46 | 151.66 | 4465.45 | 44.25 | 3259.68 | 42.74 | <LOD | 1655.72
3475 | 2025-05-11 16:25 | Mining | 300.2 | ppm | Final | -3mm | Gbi-0.1 | ttec | ctb |  |  | Terraform | <LOD | 50.94 | <LOD | 17.88 | <LOD | 17.15 | 20.93 | 6.04 | 7.44 | 2.93 | 4.75 | 2.68 | 911457.81 | 471.71 | 4.35 | 1.63 | 6.37 | 1.47 | 4.6 | 1.69 | 58.73 | 2.4 | 2.07 | 1 | <LOD | 3.15 | <LOD | 2.39 | <LOD | 1.5 | <LOD | 3.98 | <LOD | 2.73 | <LOD | 37.87 | <LOD | 6.84 | <LOD | 20.47 | <LOD | 25.02 | <LOD | 20.08 | 56.34 | 33.67 | <LOD | 50.69 | <LOD | 21.83 | <LOD | 11.46 | 145 | 21.24 | 30908.99 | 425.96 | 35637.56 | 339.9 | 1935.73 | 272.02 | 4290.67 | 71.87 | 8665.72 | 211.18 | 3768.77 | 38.5 | 3024.11 | 39.53 | <LOD | 1446.72
3474 | 2025-05-11 16:18 | Mining | 301.93 | ppm | Final | -3mm | sdarm2 | ttec | ctb |  |  | Terraform | 960.11 | 77.27 | 86.22 | 17.28 | <LOD | 19.41 | <LOD | 13.2 | <LOD | 5.76 | <LOD | 7.08 | 533714.63 | 2419.15 | 10.82 | 2.58 | 22.68 | 2.24 | 262.82 | 6.21 | 147.95 | 4.86 | 49.3 | 1.73 | <LOD | 14.81 | 82.46 | 23.72 | <LOD | 2.83 | <LOD | 10.28 | 896.93 | 24.37 | <LOD | 80.56 | 831.04 | 30.31 | 234.06 | 21.16 | <LOD | 46.7 | <LOD | 133.61 | 17553.94 | 266.44 | 904.83 | 101.81 | 101.76 | 19.26 | 61.05 | 19.2 | 1566.99 | 59.28 | 5673.75 | 275.87 | 38606.85 | 443.15 | 57961.8 | 1182.83 | 309.62 | 96.23 | 339225.66 | 1809.3 | <LOD | 21.23 | 717.06 | 25.67 | <LOD | 1924.68
3272 | 10/15/2025 16:54 | Mining | 301.13 | ppm | Final | -3mm | Efl-0.3 | ttec | ctb |  |  | Terraform | <LOD | 55.31 | <LOD | 16.35 | 16.37 | 8.42 | 27.19 | 6.63 | 6.59 | 3.07 | 6.41 | 2.94 | 858360.19 | 764.01 | 6.35 | 1.73 | 4.91 | 1.51 | <LOD | 1.72 | 86.05 | 2.99 | 13.09 | 1 | <LOD | 4.24 | <LOD | 2.61 | <LOD | 1.5 | <LOD | 8.81 | <LOD | 2.99 | <LOD | 44.68 | 94.96 | 9.86 | 39.72 | 10.62 | <LOD | 27.3 | <LOD | 21.24 | <LOD | 47.33 | <LOD | 82.74 | <LOD | 23.65 | <LOD | 10.54 | 54.14 | 22.12 | 47413.8 | 541.65 | 46819.12 | 405.79 | <LOD | 449.51 | 3457.3 | 70.58 | 18518.69 | 316.43 | 19119.54 | 123.85 | 3969.39 | 47.75 | <LOD | 2338.67
3271 | 10/15/2025 16:47 | Mining | 300.74 | ppm | Final | -3mm | Efl-0.2 | ttec | ctb |  |  | Terraform | <LOD | 55.82 | <LOD | 20.63 | <LOD | 12.5 | 20.25 | 6.47 | 7.23 | 3.14 | 5.81 | 2.94 | 857174 | 771.88 | 5.18 | 1.73 | 4.41 | 1.51 | <LOD | 2.37 | 87.3 | 3.03 | 13.7 | 1 | <LOD | 4.56 | <LOD | 2.59 | <LOD | 1.5 | <LOD | 5.41 | <LOD | 3.01 | <LOD | 42.13 | 102.22 | 10.04 | <LOD | 17.66 | <LOD | 27.02 | <LOD | 20.02 | <LOD | 47.4 | <LOD | 77.93 | <LOD | 33.7 | <LOD | 10.37 | 47.84 | 21.86 | 48010.36 | 547.73 | 47202.27 | 409.92 | <LOD | 447.55 | 3422.57 | 70.41 | 20985.71 | 335.22 | 18770.24 | 122.36 | 4131.08 | 48.74 | <LOD | 2236.91
3270 | 10/15/2025 16:40 | Mining | 300.81 | ppm | Final | -3mm | Efl-0.1 | ttec | ctb |  |  | Terraform | <LOD | 55.87 | <LOD | 22.19 | <LOD | 17.19 | 20.52 | 6.48 | 6.19 | 3.08 | 5.49 | 2.92 | 857431.63 | 764.17 | 4 | 1.7 | 4.79 | 1.51 | <LOD | 1.84 | 84.18 | 2.96 | 13.89 | 1 | <LOD | 4.11 | <LOD | 2.71 | <LOD | 1.5 | <LOD | 4.67 | <LOD | 3.09 | <LOD | 41.72 | 104.07 | 10.03 | 22.99 | 9.92 | <LOD | 27.63 | <LOD | 21.46 | <LOD | 48.26 | <LOD | 84.11 | <LOD | 20.4 | <LOD | 15.12 | 62.35 | 21.31 | 46315.39 | 534.75 | 47009.55 | 406.68 | <LOD | 444.12 | 2933.41 | 66.51 | 23754.38 | 355.25 | 18337.08 | 119.51 | 3890.01 | 47.04 | <LOD | 2142.46
3269 | 10/15/2025 16:34 | Mining | 300.01 | ppm | Final | -3mm | Wfi-0.3 | ttec | ctb |  |  | Terraform | <LOD | 63.45 | <LOD | 24.37 | <LOD | 22.51 | 20.1 | 7.56 | 7.82 | 3.74 | 5.3 | 3.41 | 849216.63 | 971 | 8.85 | 2.21 | 11.37 | 2.01 | 8.8 | 2.15 | 17.31 | 2.01 | 4.5 | 1 | <LOD | 5.26 | <LOD | 4.03 | <LOD | 1.92 | <LOD | 6.47 | <LOD | 4.27 | 69.11 | 40.89 | 76.43 | 11.76 | 55.94 | 14.1 | <LOD | 34.81 | <LOD | 26.18 | <LOD | 59.09 | <LOD | 64.66 | <LOD | 58.35 | <LOD | 24.2 | 89.31 | 30.64 | 11553.46 | 462.06 | 102585.13 | 848.92 | <LOD | 658.12 | 6803.38 | 116.85 | 1949.11 | 182.69 | 24383.19 | 182.64 | 3134.41 | 53.03 | <LOD | 3204.07
3268 | 10/15/2025 16:24 | Mining | 300.95 | ppm | Final | -3mm | Wfi-0.2 | ttec | ctb |  |  | Terraform | <LOD | 61.98 | <LOD | 24.13 | <LOD | 19.28 | 17.67 | 7.26 | 8.33 | 3.67 | 5.76 | 3.35 | 860940.69 | 872.1 | 8.12 | 2.11 | 9.84 | 1.91 | 6.66 | 2.02 | 19.33 | 2 | 4.02 | 1 | <LOD | 5 | <LOD | 3.45 | <LOD | 1.83 | <LOD | 6.36 | <LOD | 3.7 | 87.4 | 39.81 | 57.1 | 10.55 | 40.07 | 12.79 | <LOD | 32.25 | <LOD | 23.97 | <LOD | 64.48 | <LOD | 68.67 | <LOD | 48.33 | <LOD | 23.62 | 66.08 | 27.33 | 10623.07 | 427.06 | 94847.35 | 776.49 | <LOD | 903.27 | 6311.31 | 107.8 | 1279.55 | 158.97 | 22739.87 | 167.16 | 2927.82 | 49.04 | <LOD | 2739.95
3267 | 10/15/2025 16:06 | Mining | 301 | ppm | Final | -3mm | Wfi-0.1 | ttec | ctb |  |  | Terraform | <LOD | 64 | <LOD | 20.32 | <LOD | 17.61 | 28.33 | 7.92 | 8.19 | 3.77 | 8.06 | 3.59 | 850862.25 | 957.33 | 6.78 | 2.16 | 11.42 | 2.01 | 8.21 | 2.12 | 16.83 | 1.98 | 4.66 | 1 | <LOD | 5.27 | <LOD | 3.96 | <LOD | 1.88 | <LOD | 5.95 | <LOD | 4.49 | <LOD | 58.63 | 70.7 | 11.34 | 29.5 | 12.68 | <LOD | 33.07 | <LOD | 25.63 | <LOD | 59.46 | <LOD | 68.96 | <LOD | 51.96 | <LOD | 24.7 | 104.12 | 28.29 | 11230.91 | 457.21 | 100872.48 | 834.67 | <LOD | 664.02 | 6650.32 | 114.27 | 2221.76 | 184.74 | 24111.02 | 179.87 | 3123.48 | 52.29 | <LOD | 3068.4
3266 | 10/15/2025 16:01 | Mining | 301.21 | ppm | Final | -3mm | Wfi-0.1 | ttec | ctb |  |  | Terraform | <LOD | 63.31 | <LOD | 24.6 | <LOD | 14.57 | 23.87 | 7.66 | 9.82 | 3.85 | 5.86 | 3.41 | 853252.69 | 938.77 | 7.98 | 2.17 | 11.23 | 1.99 | 7.67 | 2.1 | 16.11 | 1.95 | 4.43 | 1 | <LOD | 4.75 | <LOD | 3.81 | <LOD | 2 | <LOD | 6.34 | <LOD | 4.11 | 65.2 | 40.11 | 69.72 | 11.33 | 35.65 | 13.01 | <LOD | 34.32 | <LOD | 25.58 | <LOD | 58.23 | <LOD | 66.61 | <LOD | 48.06 | <LOD | 23.32 | 64.44 | 29.41 | 11312.48 | 452.56 | 99779.58 | 825.29 | <LOD | 616.55 | 6516.13 | 112.4 | 2160.3 | 181.77 | 23619.63 | 176.11 | 3022.87 | 51.14 | <LOD | 3041.03
3265 | 10/15/2025 15:56 | Mining | 300.35 | ppm | Final | -3mm | Wfi-0.1 | ttec | ctb |  |  | Terraform | <LOD | 63.86 | <LOD | 19.38 | <LOD | 18.93 | 24.36 | 7.73 | 9.05 | 3.82 | 6.22 | 3.46 | 852925.88 | 942.59 | 8.7 | 2.19 | 10.83 | 1.99 | 7.66 | 2.11 | 18.11 | 2.02 | 4.34 | 1 | <LOD | 5.12 | <LOD | 3.87 | <LOD | 2 | <LOD | 6.51 | <LOD | 4.31 | <LOD | 94.41 | 78.74 | 11.66 | 49.72 | 13.64 | <LOD | 33.52 | <LOD | 26.56 | <LOD | 59.49 | <LOD | 66.93 | <LOD | 35.29 | <LOD | 25.83 | 74.74 | 29.63 | 11176.79 | 452.16 | 100016.58 | 830.25 | <LOD | 616.96 | 6560.31 | 113.35 | 2307.18 | 185.44 | 23679.32 | 177.44 | 3041.45 | 51.56 | <LOD | 4587.01
3264 | 10/15/2025 15:26 | Mining | 300.57 | ppm | Final | -3mm | Mgr-t-cf1 | ttec | ctb |  |  | Terraform | <LOD | 54.71 | <LOD | 13.96 | <LOD | 12.84 | 23.46 | 6.42 | 7.84 | 3.1 | 6.41 | 2.9 | 862575.69 | 707.23 | 6.99 | 1.75 | 4.97 | 1.51 | <LOD | 2.83 | 106.95 | 3.32 | <LOD | 1.5 | 81.87 | 6.56 | <LOD | 3.49 | <LOD | 1.5 | <LOD | 4.29 | <LOD | 4.27 | <LOD | 64.13 | 1124.23 | 28.36 | <LOD | 17.8 | <LOD | 27.29 | <LOD | 72.57 | 11426.44 | 174.52 | <LOD | 58.66 | 124.84 | 14.95 | 13.89 | 7.96 | 62.3 | 27.34 | 90295.77 | 717.12 | 4344.62 | 112.95 | 632.55 | 270.55 | 869.98 | 42.34 | 22071.35 | 329.44 | 903.56 | 19.15 | 5314.01 | 53.75 | <LOD | 1591.03
3263 | 10/15/2025 15:21 | Mining | 300.62 | ppm | Final | -3mm | Mgr-t-cf2 | ttec | ctb |  |  | Terraform | <LOD | 54.54 | <LOD | 13.94 | <LOD | 12.22 | 18.21 | 6.24 | 8.08 | 3.11 | 7.11 | 2.93 | 862917.19 | 707.55 | 8.16 | 1.77 | 6.53 | 1.55 | 3.35 | 1.92 | 107.77 | 3.34 | <LOD | 1.5 | 86.05 | 6.7 | <LOD | 3.49 | <LOD | 1.5 | <LOD | 5.65 | <LOD | 4.12 | <LOD | 64.41 | 1145.72 | 28.69 | <LOD | 19.86 | <LOD | 27.14 | <LOD | 72.57 | 11197.86 | 173.18 | <LOD | 54.22 | 121.97 | 14.87 | 16.82 | 8.06 | 75.49 | 27.45 | 90307.11 | 718.1 | 4354.29 | 113.14 | 613.35 | 267.24 | 833.43 | 41.57 | 21955.53 | 326.01 | 921.61 | 19.08 | 5273.86 | 53.19 | <LOD | 1711.93
3262 | 10/15/2025 15:15 | Mining | 300.16 | ppm | Final | -3mm | Mgr-t-cf3 | ttec | ctb |  |  | Terraform | <LOD | 54.57 | <LOD | 16.77 | <LOD | 15.39 | 24.12 | 6.46 | 7.37 | 3.08 | 5.81 | 2.87 | 863178.88 | 707.86 | 9.53 | 1.8 | 7.39 | 1.57 | 4.12 | 1.93 | 106.53 | 3.33 | <LOD | 1.5 | 85.9 | 6.72 | <LOD | 3.45 | <LOD | 1.5 | <LOD | 4.44 | <LOD | 4.05 | <LOD | 63.53 | 1125.92 | 28.48 | <LOD | 13.39 | <LOD | 27.99 | <LOD | 71.91 | 10981.2 | 171.93 | <LOD | 59.74 | 127.65 | 15.11 | <LOD | 18.23 | 58.79 | 27.56 | 90413.35 | 721.01 | 4326.14 | 113.26 | 581.5 | 266.52 | 909.44 | 42.41 | 21837.28 | 325.54 | 907.53 | 19.02 | 5300.97 | 53.44 | <LOD | 1625.71
3261 | 10/15/2025 15:07 | Mining | 300.04 | ppm | Final | -3mm | Mgr-t-mp1 | ttec | ctb |  |  | Terraform | <LOD | 51.32 | <LOD | 12.67 | <LOD | 11.58 | 20.22 | 6.02 | 7.11 | 2.91 | <LOD | 5.15 | 892071 | 550.79 | 3 | 1.59 | 5.94 | 1.45 | <LOD | 2.04 | 122.73 | 3.34 | <LOD | 1.5 | <LOD | 3.03 | <LOD | 2.17 | <LOD | 1.5 | <LOD | 3.88 | <LOD | 2.46 | <LOD | 36.41 | <LOD | 12.26 | <LOD | 12.11 | <LOD | 25.33 | <LOD | 16.34 | <LOD | 33.27 | <LOD | 48.02 | <LOD | 25.24 | <LOD | 10.46 | <LOD | 33.4 | 75247.39 | 621.46 | 3922.82 | 104.38 | <LOD | 333.99 | 887.57 | 41 | 22192.92 | 323.76 | 565.86 | 16.17 | 4918.89 | 50.49 | <LOD | 1354.56
3260 | 10/15/2025 15:01 | Mining | 300.77 | ppm | Final | -3mm | Mgr-t-mp2 | ttec | ctb |  |  | Terraform | <LOD | 51.17 | <LOD | 17.45 | <LOD | 16.15 | 18.46 | 5.92 | 6.77 | 2.88 | 5.14 | 2.68 | 891171.06 | 561.16 | 6.05 | 1.65 | 6.31 | 1.47 | <LOD | 1.76 | 127.89 | 3.45 | <LOD | 1.5 | <LOD | 3.31 | <LOD | 2.47 | <LOD | 1.5 | <LOD | 4.19 | <LOD | 2.99 | <LOD | 36.98 | <LOD | 10.52 | <LOD | 11.56 | <LOD | 25.74 | <LOD | 17.12 | <LOD | 35.57 | <LOD | 51.39 | <LOD | 25.01 | <LOD | 12.29 | <LOD | 33.96 | 76176.51 | 632.57 | 4006.14 | 106.62 | <LOD | 332.38 | 885.75 | 41.08 | 22075.52 | 323.34 | 553.15 | 16.09 | 4931.28 | 50.71 | <LOD | 1319.86
3259 | 10/15/2025 14:56 | Mining | 300.89 | ppm | Final | -3mm | Mgr-t-mp3 | ttec | ctb |  |  | Terraform | <LOD | 51.09 | <LOD | 17.79 | <LOD | 15.85 | 16.83 | 5.89 | 7.8 | 2.94 | <LOD | 3.86 | 892427.44 | 552.3 | 5.45 | 1.64 | 4.5 | 1.43 | <LOD | 2.14 | 124.33 | 3.38 | <LOD | 1.5 | <LOD | 2.91 | <LOD | 2.62 | <LOD | 1.5 | <LOD | 4.06 | <LOD | 2.58 | <LOD | 36.04 | <LOD | 8.65 | <LOD | 11.83 | <LOD | 25.82 | <LOD | 17.19 | <LOD | 34.79 | <LOD | 49.86 | <LOD | 23.28 | <LOD | 10.3 | <LOD | 33.72 | 75602.85 | 627.54 | 3958.87 | 105.61 | <LOD | 332.94 | 848.89 | 40.52 | 21541.88 | 318.73 | 558.43 | 16.05 | 4856.55 | 50.13 | <LOD | 1295.52
3258 | 10/15/2025 14:49 | Mining | 300.55 | ppm | Final | -3mm | sdarm2 | ttec | ctb |  |  | Terraform | 932.54 | 76.75 | 98.95 | 17.48 | <LOD | 23.84 | <LOD | 13.64 | <LOD | 7.56 | 12.12 | 4.99 | 546476.81 | 2366.07 | 11.18 | 2.55 | 24.75 | 2.27 | 238.81 | 5.91 | 149.09 | 4.85 | 50.69 | 1.75 | 20.17 | 10.1 | 75.2 | 23.58 | <LOD | 2.86 | <LOD | 9.93 | 899.79 | 24.31 | <LOD | 111.08 | 803.74 | 29.75 | 245.86 | 21.46 | <LOD | 47.74 | <LOD | 114.77 | 17646.53 | 266.21 | 930.64 | 102.17 | 121.65 | 18.76 | 47.48 | 18.9 | 1544.33 | 58.85 | 5762.14 | 275.11 | 38872.24 | 443.97 | 55602.68 | 1157.49 | <LOD | 140.46 | 328649.09 | 1788.55 | <LOD | 20.13 | 668.45 | 25.14 | <LOD | 1792.74
3289 | 10/16/2025 16:49 | Mining | 600.71 | ppm | Final | -3mm | Dic-0.4 | ttec | ctb |  |  | Terraform | <LOD | 32.44 | <LOD | 8.5 | 8.56 | 4.95 | 21.91 | 3.94 | 8.62 | 1.96 | 5.32 | 1.76 | 954331.13 | 179.25 | 6.62 | 1.13 | 9.06 | 1.03 | 5.89 | 1.05 | 2.75 | 1 | 1.89 | 1 | <LOD | 2.07 | <LOD | 1.5 | <LOD | 1.5 | <LOD | 2.42 | <LOD | 1.5 | <LOD | 27.44 | 63.18 | 5.72 | 38.78 | 6.91 | <LOD | 17.09 | <LOD | 12.11 | <LOD | 27.6 | <LOD | 39.67 | <LOD | 15.27 | <LOD | 11.57 | 38.11 | 11.49 | 1366.84 | 115.68 | 33819.65 | 234.28 | <LOD | 203.27 | 3593.96 | 45.3 | 2006.14 | 80.86 | 2287.58 | 20.76 | 2228.98 | 23.44 | <LOD | 869.39
3288 | 10/16/2025 16:36 | Mining | 301.18 | ppm | Final | -3mm | Dic-0.3 | ttec | ctb |  |  | Terraform | <LOD | 43.17 | <LOD | 10.08 | <LOD | 14.29 | 19.23 | 5.15 | 7.86 | 2.55 | 5.84 | 2.35 | 961215.13 | 200.11 | 3.72 | 1.44 | 7.9 | 1.32 | 4.93 | 1.36 | 2.1 | 1 | <LOD | 1.5 | <LOD | 2.62 | <LOD | 1.91 | <LOD | 1.5 | <LOD | 3.26 | <LOD | 2.19 | <LOD | 33.46 | 43.48 | 6.71 | 37.12 | 8.92 | <LOD | 21.94 | <LOD | 15.93 | <LOD | 34.54 | <LOD | 47.57 | <LOD | 28.53 | <LOD | 9.73 | 28.86 | 13.77 | 1046.84 | 137.2 | 29423.06 | 282.99 | <LOD | 227.93 | 2810.92 | 51.59 | 1663.43 | 95.25 | 2073.35 | 25.15 | 1604.96 | 25.51 | <LOD | 1085.27
3286 | 10/16/2025 16:29 | Mining | 301.15 | ppm | Final | -3mm | Dic-0.2 | ttec | ctb |  |  | Terraform | <LOD | 46.85 | <LOD | 13.34 | <LOD | 10.65 | 24.77 | 5.74 | 7.38 | 2.74 | 8.07 | 2.65 | 953352.06 | 261.82 | 9.28 | 1.66 | 10.62 | 1.5 | 6.24 | 1.52 | 3.69 | 1.11 | 2.08 | 1 | <LOD | 3.3 | <LOD | 2.47 | <LOD | 1.5 | <LOD | 3.95 | <LOD | 2.67 | <LOD | 39.45 | 64.94 | 8.25 | 39.94 | 9.95 | <LOD | 24.65 | <LOD | 18.91 | <LOD | 39.82 | <LOD | 56.57 | <LOD | 23.15 | <LOD | 16.64 | 43.25 | 16.53 | 1492.03 | 167.11 | 33960.89 | 336.53 | <LOD | 282.2 | 3454.73 | 63.61 | 2879.18 | 131.06 | 2484.11 | 30.89 | 2148.47 | 32.87 | <LOD | 1113.74
3285 | 10/16/2025 16:22 | Mining | 301.07 | ppm | Final | -3mm | Dic-0.1 | ttec | ctb |  |  | Terraform | <LOD | 46.45 | <LOD | 12.06 | <LOD | 10.58 | 21.63 | 5.58 | 8.1 | 2.75 | 6.07 | 2.53 | 956767.88 | 239.93 | 6.79 | 1.6 | 9.26 | 1.45 | 4.83 | 1.47 | 2.43 | 1.05 | 1.91 | 1 | <LOD | 3.12 | <LOD | 2.32 | <LOD | 1.5 | <LOD | 3.93 | <LOD | 2.69 | <LOD | 38.59 | 59.86 | 7.93 | 43.33 | 9.92 | <LOD | 24.24 | <LOD | 16.57 | <LOD | 38.2 | <LOD | 52.81 | <LOD | 21.93 | <LOD | 10.31 | 40.39 | 16.54 | 1313.99 | 159.07 | 32097.94 | 322.48 | <LOD | 268.93 | 3392.06 | 61.8 | 1885.97 | 110.65 | 2197.04 | 28.55 | 2131.22 | 32.14 | <LOD | 1151.87
3284 | 10/16/2025 16:03 | Mining | 301.16 | ppm | Final | -3mm | Ose-0.3 | ttec | ctb |  |  | Terraform | <LOD | 54.76 | <LOD | 13.63 | <LOD | 11.6 | 26.49 | 6.75 | 8.15 | 3.24 | <LOD | 4.28 | 910013.56 | 534.3 | 7.69 | 1.86 | 10.37 | 1.7 | 6.73 | 1.79 | 17.97 | 1.73 | 2.72 | 1 | <LOD | 3.82 | <LOD | 2.79 | <LOD | 1.5 | <LOD | 5.02 | <LOD | 3.33 | <LOD | 58.26 | 21.24 | 7.58 | 36.97 | 11.17 | <LOD | 27.54 | <LOD | 20.23 | <LOD | 49.2 | <LOD | 59.3 | <LOD | 42.22 | <LOD | 18.8 | 49.36 | 21.43 | 8258.93 | 320.13 | 63764.27 | 546.58 | <LOD | 400.73 | 6041.21 | 94.54 | 1569.77 | 132.35 | 6139.05 | 58.29 | 4021.78 | 51.58 | <LOD | 1817.98
3283 | 10/16/2025 15:55 | Mining | 300.34 | ppm | Final | -3mm | Ose-0.2 | ttec | ctb |  |  | Terraform | <LOD | 57.51 | <LOD | 19.48 | 13.62 | 8.87 | 28.72 | 7.21 | 8.92 | 3.47 | 5.85 | 3.13 | 899168.19 | 631.41 | 10.43 | 2.05 | 12.31 | 1.86 | 8.82 | 1.98 | 20.73 | 1.94 | 2.92 | 1 | <LOD | 4.15 | <LOD | 3.13 | <LOD | 1.68 | <LOD | 5.66 | <LOD | 3.66 | <LOD | 53.43 | 37.1 | 9.04 | 57.62 | 12.92 | <LOD | 30.11 | <LOD | 22.01 | <LOD | 54.16 | <LOD | 64.5 | <LOD | 32.49 | <LOD | 17.43 | 45.23 | 25.49 | 9604.06 | 371 | 71497.13 | 626.11 | <LOD | 481.77 | 6278.48 | 103.82 | 1507.45 | 144.86 | 7049.77 | 68.26 | 4598.59 | 59.63 | <LOD | 2277.44
3282 | 10/16/2025 15:45 | Mining | 300.07 | ppm | Final | -3mm | Ose-0.1 | ttec | ctb |  |  | Terraform | <LOD | 59.89 | <LOD | 17.6 | <LOD | 13.63 | 22.37 | 7.17 | 6.99 | 3.43 | 5.69 | 3.22 | 899571.56 | 627.95 | 7.3 | 1.99 | 9.77 | 1.81 | 6.46 | 1.91 | 15.99 | 1.79 | 2.12 | 1 | <LOD | 4.5 | <LOD | 3.43 | <LOD | 1.79 | <LOD | 5.43 | <LOD | 3.84 | <LOD | 52.31 | 25.39 | 8.44 | 47.13 | 12.5 | <LOD | 30.97 | <LOD | 25.03 | <LOD | 54.32 | <LOD | 66.49 | <LOD | 39.67 | <LOD | 17.97 | 39.78 | 24.92 | 9527.97 | 363.95 | 70534 | 616.37 | <LOD | 472.19 | 6355.18 | 103.89 | 1858.08 | 151.28 | 7727.83 | 72.29 | 4186.35 | 56.37 | <LOD | 2069.64
3281 | 10/16/2025 15:32 | Mining | 300.33 | ppm | Final | -3mm | Mgr-5.3 | ttec | ctb |  |  | Terraform | <LOD | 47.02 | <LOD | 12.15 | <LOD | 10.65 | 15.79 | 5.39 | 6.52 | 2.65 | 5.88 | 2.51 | 925659.69 | 375.99 | 4.41 | 1.51 | 4.45 | 1.33 | <LOD | 2.31 | 62.2 | 2.29 | <LOD | 1.5 | <LOD | 2.86 | <LOD | 2.42 | <LOD | 1.5 | <LOD | 3.93 | <LOD | 2.3 | <LOD | 34.75 | 12.77 | 5.7 | <LOD | 12.68 | <LOD | 23.57 | <LOD | 17.27 | <LOD | 38.77 | <LOD | 48.29 | <LOD | 18.81 | <LOD | 8.61 | 28.44 | 18.03 | 45414.41 | 451.09 | 6663 | 128.52 | <LOD | 269.49 | 786.77 | 35.66 | 17873.95 | 276.94 | 342.55 | 13.61 | 3080 | 36.81 | <LOD | 1151.16
3280 | 10/16/2025 15:25 | Mining | 300.84 | ppm | Final | -3mm | Mgr-5.2 | ttec | ctb |  |  | Terraform | <LOD | 49.04 | <LOD | 16.39 | <LOD | 11.12 | 21.13 | 5.81 | 8.99 | 2.91 | 5.09 | 2.59 | 898349 | 529.61 | 6.31 | 1.63 | 7.87 | 1.47 | 3.45 | 1.69 | 71.27 | 2.58 | <LOD | 1.5 | <LOD | 3.06 | <LOD | 2.26 | <LOD | 1.5 | <LOD | 3.89 | <LOD | 2.67 | <LOD | 37.27 | 10.88 | 6.03 | <LOD | 20.22 | <LOD | 24.81 | <LOD | 18.35 | <LOD | 40.75 | <LOD | 49.98 | <LOD | 24.7 | <LOD | 13.37 | 46.11 | 20.1 | 50312.25 | 507.86 | 7690.84 | 147.06 | <LOD | 297.38 | 756.47 | 40.77 | 39202.76 | 440.72 | 319.83 | 14.38 | 3176.21 | 39.54 | <LOD | 1295.22
3279 | 10/16/2025 15:17 | Mining | 300.91 | ppm | Final | -3mm | Mgr-5.1 | ttec | ctb |  |  | Terraform | <LOD | 48.77 | <LOD | 14.47 | <LOD | 11.08 | 25.46 | 5.91 | 6.28 | 2.75 | 6.91 | 2.66 | 918086.38 | 430.31 | 6.51 | 1.62 | 8.25 | 1.46 | <LOD | 2.48 | 71.84 | 2.56 | <LOD | 1.5 | <LOD | 3.26 | <LOD | 2.23 | <LOD | 1.5 | <LOD | 4.01 | <LOD | 2.6 | <LOD | 35.93 | 17.15 | 6.16 | <LOD | 13.22 | <LOD | 24.58 | <LOD | 18.26 | <LOD | 42.55 | <LOD | 48.56 | <LOD | 20.65 | <LOD | 15.99 | 53.93 | 19.85 | 49915.57 | 499.08 | 7360.89 | 141.88 | <LOD | 289.76 | 817.7 | 38.53 | 19829.77 | 305.26 | 303.63 | 14.19 | 3443.38 | 41.02 | <LOD | 1325.94
3278 | 10/16/2025 15:04 | Mining | 300.99 | ppm | Final | -3mm | Dcy-0.3 | ttec | ctb |  |  | Terraform | <LOD | 62.73 | <LOD | 17.34 | 17.63 | 9.72 | 21.24 | 7.47 | 6.91 | 3.61 | 5.54 | 3.36 | 901518.5 | 675.84 | 8.12 | 2.19 | 11.67 | 2.02 | 7.63 | 2.16 | 28.03 | 2.34 | <LOD | 1.5 | <LOD | 4.86 | <LOD | 3.63 | <LOD | 2.32 | <LOD | 6.32 | <LOD | 3.99 | 125.12 | 41.99 | 49.6 | 10.77 | 70.34 | 14.78 | <LOD | 34.15 | <LOD | 27.81 | <LOD | 100.47 | <LOD | 75.58 | <LOD | 53.55 | <LOD | 19.64 | 79.3 | 30.95 | 22448.51 | 500.24 | 53443.89 | 564.03 | <LOD | 537.85 | 4339.59 | 95.04 | 554.93 | 138.4 | 14278.62 | 123.68 | 2966.45 | 51.53 | <LOD | 2398.53
3277 | 10/16/2025 14:56 | Mining | 300.99 | ppm | Final | -3mm | Dcy-0.2 | ttec | ctb |  |  | Terraform | <LOD | 70.71 | <LOD | 22.04 | <LOD | 21.43 | 26.46 | 8.69 | 9.25 | 4.27 | 9.03 | 4.05 | 877154.06 | 914.89 | 10.37 | 2.48 | 13.3 | 2.28 | 9.66 | 2.47 | 30.74 | 2.69 | 1.77 | 1 | <LOD | 5.71 | <LOD | 4.59 | <LOD | 2.75 | <LOD | 7.56 | <LOD | 4.87 | 166.5 | 49.31 | 66.74 | 13.02 | 91.28 | 17.49 | <LOD | 37.95 | <LOD | 31.5 | <LOD | 75.34 | <LOD | 79.2 | <LOD | 71.25 | <LOD | 27.69 | 101.63 | 39.24 | 28640.85 | 623.02 | 65742.47 | 702.95 | <LOD | 686.53 | 5399.63 | 117.21 | 1263.74 | 182.32 | 17519.01 | 158.43 | 3690.77 | 63.95 | <LOD | 2796.83
3276 | 10/16/2025 14:48 | Mining | 300.54 | ppm | Final | -3mm | Dcy-0.1 | ttec | ctb |  |  | Terraform | <LOD | 66.62 | <LOD | 17.37 | <LOD | 22.71 | 16.77 | 7.73 | 8.2 | 3.93 | <LOD | 5.33 | 893851.63 | 750.98 | 8.97 | 2.29 | 11.95 | 2.11 | 7.4 | 2.24 | 28.08 | 2.43 | 2.08 | 1 | <LOD | 5.2 | <LOD | 5.29 | <LOD | 2.66 | <LOD | 7.16 | <LOD | 4.39 | 157.32 | 45.66 | 56.39 | 11.66 | 72.19 | 15.51 | <LOD | 36.17 | <LOD | 28.22 | <LOD | 81.31 | <LOD | 73.73 | <LOD | 42.99 | <LOD | 23.22 | 108.84 | 33.22 | 24099.34 | 536.59 | 57208.09 | 608.65 | <LOD | 583.32 | 4749.69 | 103.15 | 644.4 | 150.02 | 15622.36 | 137.07 | 3327.74 | 56.78 | <LOD | 2669.88
3275 | 10/16/2025 14:39 | Mining | 300.81 | ppm | Final | -3mm | sdarm2 | ttec | ctb |  |  | Terraform | 980.43 | 75.75 | 88.73 | 16.93 | <LOD | 18.95 | <LOD | 12.88 | <LOD | 5.62 | 12.09 | 4.89 | 548099.06 | 2361.97 | 9.7 | 2.55 | 22.58 | 2.21 | 282.35 | 6.34 | 147.93 | 4.79 | 48.6 | 1.7 | 25.26 | 10.07 | 79.94 | 23.21 | <LOD | 2.93 | <LOD | 14.69 | 884.24 | 23.86 | <LOD | 78.32 | 794.23 | 29.17 | 247.14 | 21.2 | <LOD | 45.46 | <LOD | 114.21 | 18012.93 | 265.95 | 880.34 | 99.3 | 78.72 | 18.74 | 68.32 | 18.9 | 1403.23 | 57.19 | 5840.66 | 275.4 | 39410.37 | 443.18 | 55777.59 | 1172.86 | 334.83 | 93.37 | 325716.81 | 1775.63 | <LOD | 20.36 | 753.87 | 25.81 | <LOD | 2780.99
3359 | 10/21/2025 16:53 | Mining | 300.51 | ppm | Final | -3mm | Mgr-4.3-Ti | ttec | ctb |  | Ti plate | Terraform | <LOD | 47.5 | <LOD | 10.97 | <LOD | 16.72 | 16.3 | 5.49 | 6.92 | 2.71 | 5.26 | 2.52 | 932946.31 | 344.48 | 1441.23 | 11.63 | 17.15 | 1.67 | 5.23 | 1.62 | 40.99 | 1.99 | <LOD | 1.5 | <LOD | 3.43 | <LOD | 2.57 | <LOD | 1.5 | <LOD | 4.53 | <LOD | 2.99 | <LOD | 41.44 | <LOD | 7.15 | 17.87 | 8.97 | <LOD | 26.12 | <LOD | 17.71 | <LOD | 36.85 | <LOD | 51.51 | <LOD | 23.06 | <LOD | 15.52 | 50.11 | 17.46 | 32185.62 | 394.21 | 13733.26 | 191.9 | <LOD | 447.45 | 1043.16 | 38.77 | 14884.53 | 257.44 | 1971.88 | 25.82 | 1633.42 | 27.12 | <LOD | 1150.65
3358 | 10/21/2025 16:47 | Mining | 300.45 | ppm | Final | -3mm | Mgr-4.3 | ttec | ctb |  |  | Terraform | <LOD | 48.54 | <LOD | 14.04 | <LOD | 11.04 | 23.32 | 5.85 | 9.87 | 2.95 | 4.55 | 2.55 | 928293.56 | 386.48 | 6.93 | 1.63 | 7.45 | 1.46 | 3.14 | 1.59 | 42.84 | 2.07 | <LOD | 1.5 | <LOD | 3.28 | <LOD | 2.63 | <LOD | 1.5 | <LOD | 4.11 | <LOD | 2.54 | <LOD | 37.31 | <LOD | 7.21 | 14.32 | 8.93 | <LOD | 24.43 | <LOD | 18.01 | <LOD | 36.37 | <LOD | 52.74 | <LOD | 22.14 | <LOD | 12.81 | 37.92 | 19.69 | 35284.55 | 427.8 | 14628.09 | 205.7 | 369.79 | 211.03 | 1192.71 | 42.97 | 16039.81 | 279.1 | 2188.21 | 28.47 | 1826.38 | 30 | <LOD | 1264.36
3357 | 10/21/2025 16:39 | Mining | 300.8 | ppm | Final | -3mm | Mgr-4.2 | ttec | ctb |  |  | Terraform | <LOD | 51.69 | <LOD | 16.41 | <LOD | 11.71 | 19.91 | 6.13 | 9.93 | 3.17 | 6.1 | 2.81 | 914757.69 | 490.78 | 7.82 | 1.79 | 8.78 | 1.61 | 5.15 | 1.8 | 50.77 | 2.42 | <LOD | 1.5 | <LOD | 3.89 | <LOD | 2.89 | <LOD | 1.53 | <LOD | 4.65 | <LOD | 3.08 | <LOD | 51.15 | <LOD | 8.65 | 17.24 | 9.93 | <LOD | 27.45 | <LOD | 19.18 | <LOD | 39.7 | <LOD | 57.08 | <LOD | 36.76 | <LOD | 13.77 | 46.91 | 22.78 | 41988.65 | 510.38 | 17589.76 | 245.98 | <LOD | 590.05 | 1360.73 | 50.08 | 19432.48 | 333.11 | 2541.88 | 33.58 | 2145.65 | 35.44 | <LOD | 1399.55
3356 | 10/21/2025 16:30 | Mining | 300.04 | ppm | Final | -3mm | Mgr-4.1 | ttec | ctb |  |  | Terraform | <LOD | 51.29 | <LOD | 20.06 | <LOD | 18.31 | 21.59 | 6.17 | 8.2 | 3.04 | 7.28 | 2.85 | 922048.63 | 438.65 | 7.29 | 1.73 | 8.53 | 1.56 | 4.74 | 1.73 | 47.72 | 2.28 | <LOD | 1.5 | <LOD | 3.51 | <LOD | 2.59 | <LOD | 1.5 | <LOD | 4.58 | <LOD | 3.09 | <LOD | 48.66 | <LOD | 7.89 | 14.69 | 9.5 | <LOD | 26.06 | <LOD | 17.32 | <LOD | 36.16 | <LOD | 52.66 | <LOD | 26.44 | <LOD | 12.88 | 49.59 | 21.8 | 38628.54 | 474.39 | 16878.99 | 233.69 | <LOD | 506.01 | 1329.96 | 47.76 | 16509.76 | 299.44 | 2417.55 | 31.87 | 2016.17 | 33.44 | <LOD | 1401.36
3355 | 10/21/2025 16:16 | Mining | 300.82 | ppm | Final | -3mm | Mgr-3.3-Ti | ttec | ctb |  | Ti plate | Terraform | <LOD | 46.9 | <LOD | 14.99 | 13.73 | 7.16 | 16.59 | 5.4 | 7.05 | 2.68 | 5.02 | 2.47 | 923212.19 | 379.4 | 1337.13 | 10.85 | 15.76 | 1.61 | 3.85 | 1.62 | 63.87 | 2.35 | <LOD | 1.5 | <LOD | 3.31 | <LOD | 2.51 | <LOD | 1.5 | <LOD | 4.65 | <LOD | 2.66 | <LOD | 36.38 | 8.84 | 5.67 | <LOD | 12.64 | <LOD | 25.58 | <LOD | 18.35 | <LOD | 35.24 | <LOD | 51.6 | <LOD | 24.6 | <LOD | 8.91 | 54.3 | 17.89 | 44071.17 | 452.74 | 8841.12 | 149.72 | <LOD | 374.98 | 941.69 | 37.16 | 17282.96 | 271.74 | 1730.42 | 23.49 | 2384.44 | 32.07 | <LOD | 1043
3354 | 10/21/2025 16:06 | Mining | 300.17 | ppm | Final | -3mm | Mgr-3.3-Ti | ttec | ctb |  |  | Terraform | <LOD | 47.69 | <LOD | 13.62 | <LOD | 11.46 | 21.09 | 5.65 | 7.03 | 2.73 | 3.81 | 2.47 | 920110.31 | 409.48 | 4.65 | 1.55 | 6.25 | 1.39 | <LOD | 2.01 | 66.17 | 2.4 | <LOD | 1.5 | <LOD | 2.87 | <LOD | 2.27 | <LOD | 1.5 | <LOD | 3.96 | <LOD | 2.5 | <LOD | 35.54 | <LOD | 12.52 | <LOD | 12.06 | <LOD | 22.71 | <LOD | 16.97 | <LOD | 34.36 | <LOD | 48.51 | <LOD | 29.93 | <LOD | 9.26 | 36.77 | 19.26 | 46919.07 | 472.79 | 9340.15 | 156.11 | <LOD | 290.09 | 1013.46 | 39.5 | 18105.03 | 285.13 | 1826.57 | 24.77 | 2539.3 | 33.97 | <LOD | 1217.94
3353 | 10/21/2025 15:59 | Mining | 300.12 | ppm | Final | -3mm | Mgr-3.2 | ttec | ctb |  |  | Terraform | <LOD | 47.89 | <LOD | 12.42 | 11.63 | 7.26 | 20.55 | 5.64 | 8.31 | 2.8 | 7.53 | 2.63 | 919206.56 | 414.17 | 5.8 | 1.57 | 8.64 | 1.43 | <LOD | 2.38 | 68.11 | 2.45 | <LOD | 1.5 | <LOD | 3.2 | <LOD | 2.13 | <LOD | 1.5 | <LOD | 4.09 | <LOD | 2.38 | <LOD | 36.47 | 10.73 | 5.8 | <LOD | 11.46 | <LOD | 24.47 | <LOD | 16.23 | <LOD | 35.52 | <LOD | 50.62 | <LOD | 29.71 | <LOD | 12.5 | 52.53 | 19.47 | 49637.89 | 487.08 | 8991.74 | 153.14 | <LOD | 365.95 | 998.99 | 39.27 | 16573.44 | 273.1 | 1794.05 | 24.57 | 2590.31 | 34.38 | <LOD | 1254.2
3352 | 10/21/2025 15:48 | Mining | 301.1 | ppm | Final | -3mm | Mgr-3.1 | ttec | ctb |  |  | Terraform | <LOD | 46.97 | <LOD | 12.17 | <LOD | 10.57 | 20.73 | 5.56 | 6.81 | 2.68 | 5.81 | 2.52 | 920095.63 | 408.41 | 5.62 | 1.56 | 6.61 | 1.39 | <LOD | 2.36 | 65.1 | 2.38 | <LOD | 1.5 | <LOD | 2.96 | <LOD | 2.11 | <LOD | 1.5 | <LOD | 4.82 | <LOD | 2.4 | <LOD | 35.63 | 14.23 | 5.85 | <LOD | 11.9 | <LOD | 23.22 | <LOD | 15.76 | <LOD | 34.69 | <LOD | 47.99 | <LOD | 19.64 | <LOD | 9.41 | 36.77 | 19.31 | 46024.15 | 469.35 | 8761.25 | 152.13 | <LOD | 346.46 | 943.52 | 38.69 | 19711.1 | 296.47 | 1740.04 | 24.1 | 2543.5 | 33.85 | <LOD | 1246.08
3351 | 10/21/2025 15:40 | Mining | 300.07 | ppm | Final | -3mm | Mgr-2.3-Ti | ttec | ctb |  | Ti plate | Terraform | <LOD | 45.81 | <LOD | 12.15 | <LOD | 15.36 | 23.6 | 5.46 | 7.55 | 2.62 | 4.54 | 2.38 | 920392.81 | 381.23 | 902.95 | 7.88 | 11.61 | 1.47 | 2.45 | 1.57 | 78.92 | 2.49 | <LOD | 1.5 | <LOD | 2.98 | <LOD | 2.23 | <LOD | 1.5 | <LOD | 3.76 | <LOD | 2.46 | <LOD | 31.75 | <LOD | 6.41 | <LOD | 17.88 | <LOD | 24.44 | <LOD | 16.63 | <LOD | 34.47 | <LOD | 49.32 | <LOD | 23.24 | <LOD | 10.81 | 40.86 | 17.39 | 49002.79 | 455.26 | 6036.99 | 117.79 | <LOD | 264.44 | 803.12 | 34.16 | 20460.93 | 285.44 | 89.79 | 10.46 | 1942.24 | 27.67 | <LOD | 1049.48
3350 | 10/21/2025 15:31 | Mining | 300.25 | ppm | Final | -3mm | Mgr-2.3 | ttec | ctb |  |  | Terraform | <LOD | 46.69 | <LOD | 12.04 | <LOD | 11.77 | 18.17 | 5.4 | 9.39 | 2.76 | 8.53 | 2.59 | 917964 | 401.06 | 3.64 | 1.47 | 5.21 | 1.32 | <LOD | 1.5 | 77.08 | 2.47 | <LOD | 1.5 | <LOD | 2.81 | <LOD | 2.1 | <LOD | 1.5 | <LOD | 3.63 | <LOD | 2.33 | <LOD | 31.57 | <LOD | 6.31 | <LOD | 10.63 | <LOD | 22.83 | <LOD | 16.13 | <LOD | 33.01 | <LOD | 44.4 | <LOD | 22.77 | <LOD | 8.84 | 54.92 | 17.76 | 52128.8 | 471.52 | 5877.26 | 117.16 | <LOD | 341.35 | 833.3 | 35.25 | 20873.78 | 291.67 | 121.27 | 11.15 | 2008.01 | 28.49 | <LOD | 1173.46
3349 | 10/21/2025 15:25 | Mining | 300.72 | ppm | Final | -3mm | Mgr-2.2 | ttec | ctb |  |  | Terraform | <LOD | 47.06 | <LOD | 13.08 | <LOD | 12.36 | 12.04 | 5.28 | 7.8 | 2.7 | 4.87 | 2.46 | 921208.31 | 388.11 | 5.29 | 1.49 | 5.84 | 1.33 | <LOD | 1.91 | 76.14 | 2.46 | <LOD | 1.5 | <LOD | 2.68 | <LOD | 1.97 | <LOD | 1.5 | <LOD | 3.6 | <LOD | 2.22 | <LOD | 31.27 | <LOD | 6.15 | <LOD | 10.26 | <LOD | 23.05 | <LOD | 16.24 | <LOD | 36.89 | <LOD | 46.02 | <LOD | 17.25 | <LOD | 8.37 | 69.68 | 17.87 | 51130.7 | 469.1 | 5556.55 | 114.65 | 631.02 | 192.68 | 813.58 | 34.63 | 18324.5 | 273.05 | 163.46 | 11.42 | 1990.26 | 28.37 | <LOD | 1073.93
3348 | 10/21/2025 15:18 | Mining | 300.24 | ppm | Final | -3mm | Mgr-2.1 | ttec | ctb |  | fibre bit square in middle | Terraform | <LOD | 46.74 | <LOD | 12.01 | <LOD | 10.51 | 12.17 | 5.23 | 7.12 | 2.65 | 6.89 | 2.53 | 925702.06 | 372.57 | 4.26 | 1.49 | 5.42 | 1.33 | <LOD | 1.5 | 79.03 | 2.51 | <LOD | 1.5 | <LOD | 2.6 | <LOD | 1.97 | <LOD | 1.5 | <LOD | 3.75 | <LOD | 2.29 | <LOD | 32.13 | <LOD | 6.31 | <LOD | 10.71 | <LOD | 22.64 | <LOD | 15.7 | <LOD | 33.41 | <LOD | 48.76 | <LOD | 19.56 | <LOD | 11.07 | 49.93 | 17.8 | 43157.59 | 433.55 | 5789.24 | 118.77 | 546.99 | 187.71 | 728.93 | 34.38 | 22060.11 | 304.49 | 100.74 | 11.2 | 1731.84 | 26.78 | <LOD | 937.71
3347 | 10/21/2025 15:02 | Mining | 301.14 | ppm | Final | -3mm | Mgr-1.3-Ti | ttec | ctb |  | Ti plate | Terraform | <LOD | 50.46 | <LOD | 12.44 | <LOD | 14.75 | 21.4 | 5.98 | 6.14 | 2.83 | <LOD | 3.9 | 906842.44 | 474.02 | 1929.44 | 15.66 | 21.43 | 1.87 | 7.2 | 1.87 | 76.66 | 2.77 | <LOD | 1.5 | <LOD | 4.26 | <LOD | 2.88 | <LOD | 1.5 | <LOD | 6.92 | <LOD | 3.29 | <LOD | 41.7 | <LOD | 13.94 | 19.1 | 9.63 | <LOD | 29.18 | <LOD | 20.3 | <LOD | 40.34 | <LOD | 55.92 | <LOD | 33.52 | <LOD | 12.68 | 39.8 | 20.96 | 56236.43 | 553.55 | 9794.57 | 166.81 | <LOD | 409.05 | 1419.69 | 46.1 | 19252.73 | 307.12 | 1763.23 | 25.59 | 2565.15 | 35.88 | <LOD | 1391.75
3346 | 10/21/2025 14:48 | Mining | 301.08 | ppm | Final | -3mm | Mgr-1.3 | ttec | ctb |  |  | Terraform | <LOD | 50.95 | <LOD | 13.2 | 12.23 | 7.77 | 20.44 | 6.03 | 7.02 | 2.92 | 6.32 | 2.76 | 903891.75 | 518.36 | 6.86 | 1.71 | 9.34 | 1.56 | 3.34 | 1.8 | 84.42 | 2.91 | <LOD | 1.5 | <LOD | 3.51 | <LOD | 2.42 | <LOD | 1.5 | <LOD | 3.98 | <LOD | 2.96 | <LOD | 38.84 | <LOD | 7.97 | <LOD | 18.46 | <LOD | 26.02 | <LOD | 18.02 | <LOD | 36.18 | <LOD | 51.47 | <LOD | 23.38 | <LOD | 15.24 | 50.66 | 22.76 | 59988.78 | 579.99 | 10577.47 | 177.74 | <LOD | 340.29 | 1604.86 | 49.92 | 19291.4 | 316.21 | 1858.19 | 27.04 | 2576.85 | 36.92 | <LOD | 1363.56
3345 | 10/21/2025 14:41 | Mining | 300.22 | ppm | Final | -3mm | Mgr-1.2 | ttec | ctb |  |  | Terraform | <LOD | 51.24 | <LOD | 19.41 | <LOD | 14.05 | 22.15 | 6.11 | 10.08 | 3.11 | 4.97 | 2.71 | 906708.13 | 501.12 | 5.65 | 1.68 | 8.68 | 1.54 | <LOD | 2.6 | 76.15 | 2.75 | <LOD | 1.5 | <LOD | 3.34 | <LOD | 2.28 | <LOD | 1.5 | <LOD | 4.01 | <LOD | 2.71 | <LOD | 37.53 | <LOD | 8.92 | <LOD | 15.56 | <LOD | 25.17 | <LOD | 17.83 | <LOD | 36.66 | <LOD | 51.94 | <LOD | 22.87 | <LOD | 17.02 | 49.19 | 22.01 | 57448.13 | 561.37 | 10253.62 | 173.67 | <LOD | 327.46 | 1497.64 | 48.21 | 19638.9 | 315.63 | 1678.9 | 25.48 | 2588.63 | 36.59 | <LOD | 1404.99
3344 | 10/21/2025 14:34 | Mining | 300.04 | ppm | Final | -3mm | Mgr-1.1 | ttec | ctb |  |  | Terraform | <LOD | 53.21 | <LOD | 12.46 | <LOD | 16.29 | 20.74 | 6.31 | 9.47 | 3.19 | <LOD | 4.15 | 905058.5 | 522.61 | 7.34 | 1.75 | 9.27 | 1.59 | 3.18 | 1.8 | 76.27 | 2.83 | <LOD | 1.5 | <LOD | 3.65 | <LOD | 2.74 | <LOD | 1.5 | <LOD | 4.37 | <LOD | 3.06 | <LOD | 40.8 | <LOD | 8.14 | <LOD | 14.03 | <LOD | 26.6 | <LOD | 18.15 | <LOD | 37.04 | <LOD | 53.99 | <LOD | 23.49 | <LOD | 13.78 | <LOD | 34.99 | 59024.15 | 584.27 | 10701.58 | 181.65 | <LOD | 350.72 | 1490.32 | 49.89 | 18985.99 | 319.76 | 1692.23 | 26.51 | 2875.14 | 39.89 | <LOD | 1387.56
3342 | 10/21/2025 14:16 | Mining | 301.62 | ppm | Final |  | sdarm2 | ttec | ctb |  |  | Terraform | 957.45 | 32.38 | 103.79 | 7.81 | <LOD | 8.55 | <LOD | 7.45 | <LOD | 1.88 | 10.2 | 2.05 | 516730.91 | 1433.13 | 11.41 | 1.48 | 32.53 | 1.73 | 244.6 | 3.33 | 149.54 | 2.73 | 138.04 | 2.66 | 17.08 | 5.69 | 49.72 | 11.48 | <LOD | 2.84 | <LOD | 5.85 | 957.52 | 14.35 | <LOD | 32.38 | 852.17 | 17.48 | 233.76 | 12.98 | <LOD | 29.97 | <LOD | 63.83 | 16955.55 | 142.06 | 932.72 | 56.94 | 103.57 | 12.75 | 35.4 | 14.12 | 1560.92 | 41.54 | 5459.67 | 176.31 | 46622.43 | 336.48 | 65992.63 | 859.71 | 217.05 | 64.91 | 336341.5 | 1055.16 | 175.03 | 13.07 | 831.81 | 19.68 | 4276.9 | 1054.19
3366 | 10/22/2025 11:29 | Mining | 300.83 | ppm | Final | -3mm | Cfa-0.3-Ti | ttec | ctb |  | Ti plate | Terraform | <LOD | 46.94 | <LOD | 12.09 | <LOD | 10.41 | 16.06 | 5.34 | 6.59 | 2.62 | <LOD | 3.56 | 922190.88 | 384.13 | 795.46 | 7.33 | 11.88 | 1.49 | <LOD | 2.16 | 70.37 | 2.4 | 1.9 | 1 | <LOD | 3.19 | <LOD | 2.78 | <LOD | 1.5 | <LOD | 3.89 | <LOD | 2.4 | <LOD | 33.34 | 29.66 | 6.29 | <LOD | 10.72 | <LOD | 24.68 | <LOD | 19.09 | <LOD | 50.38 | <LOD | 51.14 | <LOD | 16.87 | <LOD | 14.31 | 68.01 | 17.89 | 29948.75 | 374.05 | 22888.52 | 242.98 | 1993.05 | 240.34 | 1177.38 | 39.53 | 7709.58 | 183.16 | 10523.95 | 70.25 | 2546.84 | 32.98 | <LOD | 1334.6
3365 | 10/22/2025 11:08 | Mining | 300.08 | ppm | Final | -3mm | Cfa-0.3 | ttec | ctb |  |  | Terraform | <LOD | 47.37 | <LOD | 18.88 | 12.07 | 7.13 | 21.5 | 5.55 | 4.95 | 2.56 | 4.95 | 2.47 | 915769.38 | 422.48 | 3.39 | 1.5 | 5.44 | 1.35 | <LOD | 2.58 | 72.76 | 2.45 | 1.66 | 1 | <LOD | 3.15 | <LOD | 2.14 | <LOD | 1.5 | <LOD | 3.64 | <LOD | 2.39 | <LOD | 33.7 | 33.11 | 6.48 | <LOD | 11.54 | <LOD | 22.77 | <LOD | 18.77 | 73.05 | 31.91 | <LOD | 50.54 | <LOD | 18 | <LOD | 10.65 | 107.25 | 19.14 | 31430.79 | 388.43 | 24565.45 | 255.3 | 2836.68 | 269.1 | 1222.89 | 41.61 | 10029.92 | 211.85 | 11077.72 | 74.12 | 2714.82 | 34.88 | <LOD | 2427.45
3364 | 10/22/2025 10:51 | Mining | 300.82 | ppm | Final | -3mm | Cfa-0.2 | ttec | ctb |  |  | Terraform | <LOD | 47.89 | <LOD | 19.35 | <LOD | 16.09 | 17.18 | 5.48 | 5.89 | 2.64 | 6.83 | 2.58 | 929756.31 | 357.03 | 2.59 | 1.5 | 5.07 | 1.35 | <LOD | 1.8 | 71.46 | 2.44 | <LOD | 1.5 | <LOD | 2.93 | <LOD | 2.11 | <LOD | 1.5 | <LOD | 4.49 | <LOD | 2.42 | <LOD | 34.77 | 23.81 | 6.16 | <LOD | 14.24 | <LOD | 22.41 | <LOD | 16.55 | <LOD | 37.89 | <LOD | 50.49 | <LOD | 18.61 | <LOD | 11.76 | <LOD | 27.16 | 31717.63 | 390.61 | 22592.72 | 244.86 | <LOD | 300.87 | 1237.42 | 40.71 | 926.27 | 92.2 | 10882.83 | 73.6 | 2725.45 | 35 | <LOD | 1312.57
3363 | 10/22/2025 10:44 | Mining | 300.13 | ppm | Final | -3mm | Cfa-0.1 | ttec | ctb |  |  | Terraform | <LOD | 47.24 | <LOD | 17.18 | <LOD | 15.9 | 19.04 | 5.46 | 5.71 | 2.59 | 3.79 | 2.41 | 928756.81 | 358.03 | 3.33 | 1.46 | 3.42 | 1.29 | <LOD | 1.65 | 69.19 | 2.34 | 1.71 | 1 | <LOD | 2.76 | <LOD | 2.92 | <LOD | 1.5 | <LOD | 3.4 | <LOD | 2.15 | <LOD | 31.02 | 26.66 | 5.99 | <LOD | 10.67 | <LOD | 22.25 | <LOD | 17.33 | <LOD | 38.84 | <LOD | 49.16 | <LOD | 27.31 | <LOD | 10.59 | 52.1 | 17.26 | 30937.28 | 373.92 | 23411.98 | 242.27 | <LOD | 301.51 | 1230.15 | 39.42 | 2545.91 | 117.63 | 10135.63 | 68.11 | 2594.47 | 33.09 | <LOD | 1319.74
3362 | 10/22/2025 10:38 | Mining | 302.06 | ppm | Final | -3mm | sdarm2 | ttec | ctb |  |  | Terraform | 955.21 | 77.09 | 91.65 | 17.36 | <LOD | 19.21 | <LOD | 13.41 | <LOD | 5.72 | <LOD | 7.16 | 532226.56 | 2400.84 | 10.5 | 2.59 | 24.63 | 2.26 | 285.83 | 6.42 | 149.15 | 4.84 | 48.66 | 1.71 | 22.28 | 10.04 | 74.33 | 23.24 | <LOD | 2.95 | <LOD | 13.06 | 878.29 | 23.93 | <LOD | 80.45 | 830.64 | 30.05 | 243.45 | 21.32 | <LOD | 59.57 | <LOD | 112.52 | 17170.7 | 261.45 | 891.71 | 100.28 | 104.19 | 19.34 | 53.25 | 19.12 | 1480.36 | 58.75 | 5898.26 | 279.52 | 39193.16 | 445.88 | 57396.4 | 1206.03 | 251.7 | 96.67 | 341019.75 | 1803.41 | <LOD | 20.91 | 692.19 | 25.49 | <LOD | 2737.54

## Sheet2
Reading No | Time | Type | Duration | Units | Sequence | Flags | SAMPLE | LOCATION | INSPECTOR | MISC | NOTE | User Login | Ba | Ba Error | Sb | Sb Error | Sn | Sn Error | Cd | Cd Error | Pd | Pd Error | Ag | Ag Error | Bal | Bal Error | Mo | Mo Error | Nb | Nb Error | Zr | Zr Error | Sr | Sr Error | Rb | Rb Error | Bi | Bi Error | As | As Error | Se | Se Error | Au | Au Error | Pb | Pb Error | W | W Error | Zn | Zn Error | Cu | Cu Error | Ni | Ni Error | Co | Co Error | Fe | Fe Error | Mn | Mn Error | Cr | Cr Error | V | V Error | Ti | Ti Error | Ca | Ca Error | K | K Error | Al | Al Error | P | P Error | Si | Si Error | Cl | Cl Error | S | S Error | Mg | Mg Error
3264 | 10/15/2025 15:26 | Mining | 300.57 | ppm | Final | -3mm | M.g-t-cf1 | ttec | ctb |  |  | Terraform | <LOD | 54.71 | <LOD | 13.96 | <LOD | 12.84 | 23.46 | 6.42 | 7.84 | 3.1 | 6.41 | 2.9 | 862575.69 | 707.23 | 6.99 | 1.75 | 4.97 | 1.51 | <LOD | 2.83 | 106.95 | 3.32 | <LOD | 1.5 | 81.87 | 6.56 | <LOD | 3.49 | <LOD | 1.5 | <LOD | 4.29 | <LOD | 4.27 | <LOD | 64.13 | 1124.23 | 28.36 | <LOD | 17.8 | <LOD | 27.29 | <LOD | 72.57 | 11426.44 | 174.52 | <LOD | 58.66 | 124.84 | 14.95 | 13.89 | 7.96 | 62.3 | 27.34 | 90295.77 | 717.12 | 4344.62 | 112.95 | 632.55 | 270.55 | 869.98 | 42.34 | 22071.35 | 329.44 | 903.56 | 19.15 | 5314.01 | 53.75 | <LOD | 1591.03
3263 | 10/15/2025 15:21 | Mining | 300.62 | ppm | Final | -3mm | M.g-t-cf1 | ttec | ctb |  |  | Terraform | <LOD | 54.54 | <LOD | 13.94 | <LOD | 12.22 | 18.21 | 6.24 | 8.08 | 3.11 | 7.11 | 2.93 | 862917.19 | 707.55 | 8.16 | 1.77 | 6.53 | 1.55 | 3.35 | 1.92 | 107.77 | 3.34 | <LOD | 1.5 | 86.05 | 6.7 | <LOD | 3.49 | <LOD | 1.5 | <LOD | 5.65 | <LOD | 4.12 | <LOD | 64.41 | 1145.72 | 28.69 | <LOD | 19.86 | <LOD | 27.14 | <LOD | 72.57 | 11197.86 | 173.18 | <LOD | 54.22 | 121.97 | 14.87 | 16.82 | 8.06 | 75.49 | 27.45 | 90307.11 | 718.1 | 4354.29 | 113.14 | 613.35 | 267.24 | 833.43 | 41.57 | 21955.53 | 326.01 | 921.61 | 19.08 | 5273.86 | 53.19 | <LOD | 1711.93
3262 | 10/15/2025 15:15 | Mining | 300.16 | ppm | Final | -3mm | M.g-t-cf1 | ttec | ctb |  |  | Terraform | <LOD | 54.57 | <LOD | 16.77 | <LOD | 15.39 | 24.12 | 6.46 | 7.37 | 3.08 | 5.81 | 2.87 | 863178.88 | 707.86 | 9.53 | 1.8 | 7.39 | 1.57 | 4.12 | 1.93 | 106.53 | 3.33 | <LOD | 1.5 | 85.9 | 6.72 | <LOD | 3.45 | <LOD | 1.5 | <LOD | 4.44 | <LOD | 4.05 | <LOD | 63.53 | 1125.92 | 28.48 | <LOD | 13.39 | <LOD | 27.99 | <LOD | 71.91 | 10981.2 | 171.93 | <LOD | 59.74 | 127.65 | 15.11 | <LOD | 18.23 | 58.79 | 27.56 | 90413.35 | 721.01 | 4326.14 | 113.26 | 581.5 | 266.52 | 909.44 | 42.41 | 21837.28 | 325.54 | 907.53 | 19.02 | 5300.97 | 53.44 | <LOD | 1625.71
[19 empty] | 21.93 | 6.3733 | 7.7633 | 3.0967 | 6.4433 | 2.9 | 862890.5867 | 707.5467 | 8.2267 | 1.7733 | 6.2967 | 1.5433 | 3.735 | 2.2267 | 107.0833 | 3.33 |  |  | 84.6067 | 6.66 | [10 empty] | 1131.9567 | 28.51 | [6 empty] | 11201.8333 | 173.21 |  |  | 124.82 | 14.9767 | 15.355 | 11.4167 | 65.5267 | 27.45 | 90338.7433 | 718.7433 | 4341.6833 | 113.1167 | 609.1333 | 268.1033 | 870.95 | 42.1067 | 21954.72 | 326.9967 | 910.9 | 19.0833 | 5296.28 | 53.46
3281 | 10/16/2025 15:32 | Mining | 300.33 | ppm | Final | -3mm | Mgr5.3 | ttec | ctb |  |  | Terraform | <LOD | 47.02 | <LOD | 12.15 | <LOD | 10.65 | 15.79 | 5.39 | 6.52 | 2.65 | 5.88 | 2.51 | 925659.69 | 375.99 | 4.41 | 1.51 | 4.45 | 1.33 | <LOD | 2.31 | 62.2 | 2.29 | <LOD | 1.5 | <LOD | 2.86 | <LOD | 2.42 | <LOD | 1.5 | <LOD | 3.93 | <LOD | 2.3 | <LOD | 34.75 | 12.77 | 5.7 | <LOD | 12.68 | <LOD | 23.57 | <LOD | 17.27 | <LOD | 38.77 | <LOD | 48.29 | <LOD | 18.81 | <LOD | 8.61 | 28.44 | 18.03 | 45414.41 | 451.09 | 6663 | 128.52 | <LOD | 269.49 | 786.77 | 35.66 | 17873.95 | 276.94 | 342.55 | 13.61 | 3080 | 36.81 | <LOD | 1151.16
3280 | 10/16/2025 15:25 | Mining | 300.84 | ppm | Final | -3mm | Mgr5.2 | ttec | ctb |  |  | Terraform | <LOD | 49.04 | <LOD | 16.39 | <LOD | 11.12 | 21.13 | 5.81 | 8.99 | 2.91 | 5.09 | 2.59 | 898349 | 529.61 | 6.31 | 1.63 | 7.87 | 1.47 | 3.45 | 1.69 | 71.27 | 2.58 | <LOD | 1.5 | <LOD | 3.06 | <LOD | 2.26 | <LOD | 1.5 | <LOD | 3.89 | <LOD | 2.67 | <LOD | 37.27 | 10.88 | 6.03 | <LOD | 20.22 | <LOD | 24.81 | <LOD | 18.35 | <LOD | 40.75 | <LOD | 49.98 | <LOD | 24.7 | <LOD | 13.37 | 46.11 | 20.1 | 50312.25 | 507.86 | 7690.84 | 147.06 | <LOD | 297.38 | 756.47 | 40.77 | 39202.76 | 440.72 | 319.83 | 14.38 | 3176.21 | 39.54 | <LOD | 1295.22
3279 | 10/16/2025 15:17 | Mining | 300.91 | ppm | Final | -3mm | Mgr5.1 | ttec | ctb |  |  | Terraform | <LOD | 48.77 | <LOD | 14.47 | <LOD | 11.08 | 25.46 | 5.91 | 6.28 | 2.75 | 6.91 | 2.66 | 918086.38 | 430.31 | 6.51 | 1.62 | 8.25 | 1.46 | <LOD | 2.48 | 71.84 | 2.56 | <LOD | 1.5 | <LOD | 3.26 | <LOD | 2.23 | <LOD | 1.5 | <LOD | 4.01 | <LOD | 2.6 | <LOD | 35.93 | 17.15 | 6.16 | <LOD | 13.22 | <LOD | 24.58 | <LOD | 18.26 | <LOD | 42.55 | <LOD | 48.56 | <LOD | 20.65 | <LOD | 15.99 | 53.93 | 19.85 | 49915.57 | 499.08 | 7360.89 | 141.88 | <LOD | 289.76 | 817.7 | 38.53 | 19829.77 | 305.26 | 303.63 | 14.19 | 3443.38 | 41.02 | <LOD | 1325.94
[19 empty] | 20.7933 | 5.7033 | 7.2633 | 2.77 | 5.96 | 2.5867 | 914031.69 | 445.3033 | 5.7433 | 1.5867 | 6.8567 | 1.42 | 3.45 | 2.16 | 68.4367 | 2.4767 | [14 empty] | 13.6 | 5.9633 | [6 empty] | #DIV/0! | [7 empty] | 42.8267 | 19.3267 | 48547.41 | 486.01 | 7238.2433 | 139.1533 |  |  | 786.98 | 38.32 | 25635.4933 | 340.9733 | 322.0033 | 14.06 | 3233.1967 | 39.1233
3261 | 10/15/2025 15:07 | Mining | 300.04 | ppm | Final | -3mm | M.g-t-mp1 | ttec | ctb |  |  | Terraform | <LOD | 51.32 | <LOD | 12.67 | <LOD | 11.58 | 20.22 | 6.02 | 7.11 | 2.91 | <LOD | 5.15 | 892071 | 550.79 | 3 | 1.59 | 5.94 | 1.45 | <LOD | 2.04 | 122.73 | 3.34 | <LOD | 1.5 | <LOD | 3.03 | <LOD | 2.17 | <LOD | 1.5 | <LOD | 3.88 | <LOD | 2.46 | <LOD | 36.41 | <LOD | 12.26 | <LOD | 12.11 | <LOD | 25.33 | <LOD | 16.34 | <LOD | 33.27 | <LOD | 48.02 | <LOD | 25.24 | <LOD | 10.46 | <LOD | 33.4 | 75247.39 | 621.46 | 3922.82 | 104.38 | <LOD | 333.99 | 887.57 | 41 | 22192.92 | 323.76 | 565.86 | 16.17 | 4918.89 | 50.49 | <LOD | 1354.56
3260 | 10/15/2025 15:01 | Mining | 300.77 | ppm | Final | -3mm | M.g-t-mp1 | ttec | ctb |  |  | Terraform | <LOD | 51.17 | <LOD | 17.45 | <LOD | 16.15 | 18.46 | 5.92 | 6.77 | 2.88 | 5.14 | 2.68 | 891171.06 | 561.16 | 6.05 | 1.65 | 6.31 | 1.47 | <LOD | 1.76 | 127.89 | 3.45 | <LOD | 1.5 | <LOD | 3.31 | <LOD | 2.47 | <LOD | 1.5 | <LOD | 4.19 | <LOD | 2.99 | <LOD | 36.98 | <LOD | 10.52 | <LOD | 11.56 | <LOD | 25.74 | <LOD | 17.12 | <LOD | 35.57 | <LOD | 51.39 | <LOD | 25.01 | <LOD | 12.29 | <LOD | 33.96 | 76176.51 | 632.57 | 4006.14 | 106.62 | <LOD | 332.38 | 885.75 | 41.08 | 22075.52 | 323.34 | 553.15 | 16.09 | 4931.28 | 50.71 | <LOD | 1319.86
3259 | 10/15/2025 14:56 | Mining | 300.89 | ppm | Final | -3mm | M.g-t-mp1 | ttec | ctb |  |  | Terraform | <LOD | 51.09 | <LOD | 17.79 | <LOD | 15.85 | 16.83 | 5.89 | 7.8 | 2.94 | <LOD | 3.86 | 892427.44 | 552.3 | 5.45 | 1.64 | 4.5 | 1.43 | <LOD | 2.14 | 124.33 | 3.38 | <LOD | 1.5 | <LOD | 2.91 | <LOD | 2.62 | <LOD | 1.5 | <LOD | 4.06 | <LOD | 2.58 | <LOD | 36.04 | <LOD | 8.65 | <LOD | 11.83 | <LOD | 25.82 | <LOD | 17.19 | <LOD | 34.79 | <LOD | 49.86 | <LOD | 23.28 | <LOD | 10.3 | <LOD | 33.72 | 75602.85 | 627.54 | 3958.87 | 105.61 | <LOD | 332.94 | 848.89 | 40.52 | 21541.88 | 318.73 | 558.43 | 16.05 | 4856.55 | 50.13 | <LOD | 1295.52
[19 empty] | 18.5033 | 5.9433 | 7.2267 | 2.91 | 5.14 | 3.8967 | 891889.8333 | 554.75 | 4.8333 | 1.6267 | 5.5833 | 1.45 |  |  | 124.9833 | 3.39 | [22 empty] | #DIV/0! | [9 empty] | 75675.5833 | 627.19 | 3962.61 | 105.5367 |  |  | 874.07 | 40.8667 | 21936.7733 | 321.9433 | 559.1467 | 16.1033 | 4902.24 | 50.4433
[5 empty] | same leaf |  | M.g-t-cf | blade grinder + scraping powder off of it + mortar and pestle | [44 empty] | v |  |  |  | v |  |  |  | v |  | v
[7 empty] | Mgr5 | blade grinder + NOT scraping powder off of it + mortar and pestle
[5 empty] | same leaf |  | M.g-t-mp | control
Target elements (present in stainless steal) in boxes

## Sheet4
SAMPLE | group | Ba | Sb | Sn | Cd | Pd | Ag | Bal | Mo | Nb | Zr | Sr | Rb | Bi | As | Se | Au | Pb | W | Zn | Cu | Ni | Co | Fe | Mn | Cr | V | Ti | Ca | K | Al | P | Si | Cl | S | Mg
M.g-t-cf1 | scrape | 0 | 0 | 0 | 23.46 | 7.84 | 6.41 | 862575.69 | 6.99 | 4.97 | 0 | 106.95 | 0 | 81.87 | 0 | 0 | 0 | 0 | 0 | 1124.23 | 0 | 0 | 0 | 11426.44 | 0 | 124.84 | 13.89 | 62.3 | 90295.77 | 4344.62 | 632.55 | 869.98 | 22071.35 | 903.56 | 5314.01 | 0
M.g-t-cf1 | scrape | 0 | 0 | 0 | 18.21 | 8.08 | 7.11 | 862917.19 | 8.16 | 6.53 | 3.35 | 107.77 | 0 | 86.05 | 0 | 0 | 0 | 0 | 0 | 1145.72 | 0 | 0 | 0 | 11197.86 | 0 | 121.97 | 16.82 | 75.49 | 90307.11 | 4354.29 | 613.35 | 833.43 | 21955.53 | 921.61 | 5273.86 | 0
M.g-t-cf1 | scrape | 0 | 0 | 0 | 24.12 | 7.37 | 5.81 | 863178.88 | 9.53 | 7.39 | 4.12 | 106.53 | 0 | 85.9 | 0 | 0 | 0 | 0 | 0 | 1125.92 | 0 | 0 | 0 | 10981.2 | 0 | 127.65 | 0 | 58.79 | 90413.35 | 4326.14 | 581.5 | 909.44 | 21837.28 | 907.53 | 5300.97 | 0
Mgr5.3 | grinder | 0 | 0 | 0 | 15.79 | 6.52 | 5.88 | 925659.69 | 4.41 | 4.45 | 0 | 62.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.44 | 45414.41 | 6663 | 0 | 786.77 | 17873.95 | 342.55 | 3080 | 0
Mgr5.2 | grinder | 0 | 0 | 0 | 21.13 | 8.99 | 5.09 | 898349 | 6.31 | 7.87 | 3.45 | 71.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46.11 | 50312.25 | 7690.84 | 0 | 756.47 | 39202.76 | 319.83 | 3176.21 | 0
Mgr5.1 | grinder | 0 | 0 | 0 | 25.46 | 6.28 | 6.91 | 918086.38 | 6.51 | 8.25 | 0 | 71.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53.93 | 49915.57 | 7360.89 | 0 | 817.7 | 19829.77 | 303.63 | 3443.38 | 0
M.g-t-mp1 | control | 0 | 0 | 0 | 20.22 | 7.11 | 0 | 892071 | 3 | 5.94 | 0 | 122.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75247.39 | 3922.82 | 0 | 887.57 | 22192.92 | 565.86 | 4918.89 | 0
M.g-t-mp1 | control | 0 | 0 | 0 | 18.46 | 6.77 | 5.14 | 891171.06 | 6.05 | 6.31 | 0 | 127.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76176.51 | 4006.14 | 0 | 885.75 | 22075.52 | 553.15 | 4931.28 | 0
M.g-t-mp1 | control | 0 | 0 | 0 | 16.83 | 7.8 | 0 | 892427.44 | 5.45 | 4.5 | 0 | 124.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75602.85 | 3958.87 | 0 | 848.89 | 21541.88 | 558.43 | 4856.55 | 0

## Sheet5
|  | SAMPLE | Ba | Sb | Sn | Cd | Pd | Ag | Bal | Mo | Nb | Zr | Sr | Rb | Bi | As | Se | Au | Pb | W | Zn | Cu | Ni | Co | Fe | Mn | Cr | V | Ti | Ca | K | Al | P | Si | Cl | S | Mg
Crimson |  | Efl-0.3 | 0 | 0 | 16.37 | 27.19 | 6.59 | 6.41 | 858360.19 | 6.35 | 4.91 | 0 | 86.05 | 13.09 | 0 | 0 | 0 | 0 | 0 | 0 | 94.96 | 39.72 | 0 | 0 | 0 | 0 | 0 | 0 | 54.14 | 47413.8 | 46819.12 | 0 | 3457.3 | 18518.69 | 19119.54 | 3969.39 | 0
Crimson |  | Efl-0.2 | 0 | 0 | 0 | 20.25 | 7.23 | 5.81 | 857174 | 5.18 | 4.41 | 0 | 87.3 | 13.7 | 0 | 0 | 0 | 0 | 0 | 0 | 102.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47.84 | 48010.36 | 47202.27 | 0 | 3422.57 | 20985.71 | 18770.24 | 4131.08 | 0
Crimson |  | Efl-0.1 | 0 | 0 | 0 | 20.52 | 6.19 | 5.49 | 857431.63 | 4 | 4.79 | 0 | 84.18 | 13.89 | 0 | 0 | 0 | 0 | 0 | 0 | 104.07 | 22.99 | 0 | 0 | 0 | 0 | 0 | 0 | 62.35 | 46315.39 | 47009.55 | 0 | 2933.41 | 23754.38 | 18337.08 | 3890.01 | 0
Crimson |  | Wfi-0.3 | 0 | 0 | 0 | 20.1 | 7.82 | 5.3 | 849216.63 | 8.85 | 11.37 | 8.8 | 17.31 | 4.5 | 0 | 0 | 0 | 0 | 0 | 69.11 | 76.43 | 55.94 | 0 | 0 | 0 | 0 | 0 | 0 | 89.31 | 11553.46 | 102585.13 | 0 | 6803.38 | 1949.11 | 24383.19 | 3134.41 | 0
Crimson |  | Wfi-0.2 | 0 | 0 | 0 | 17.67 | 8.33 | 5.76 | 860940.69 | 8.12 | 9.84 | 6.66 | 19.33 | 4.02 | 0 | 0 | 0 | 0 | 0 | 87.4 | 57.1 | 40.07 | 0 | 0 | 0 | 0 | 0 | 0 | 66.08 | 10623.07 | 94847.35 | 0 | 6311.31 | 1279.55 | 22739.87 | 2927.82 | 0
Crimson |  | Wfi-0.1 | 0 | 0 | 0 | 28.33 | 8.19 | 8.06 | 850862.25 | 6.78 | 11.42 | 8.21 | 16.83 | 4.66 | 0 | 0 | 0 | 0 | 0 | 0 | 70.7 | 29.5 | 0 | 0 | 0 | 0 | 0 | 0 | 104.12 | 11230.91 | 100872.48 | 0 | 6650.32 | 2221.76 | 24111.02 | 3123.48 | 0
Crimson |  | Wfi-0.1 | 0 | 0 | 0 | 23.87 | 9.82 | 5.86 | 853252.69 | 7.98 | 11.23 | 7.67 | 16.11 | 4.43 | 0 | 0 | 0 | 0 | 0 | 65.2 | 69.72 | 35.65 | 0 | 0 | 0 | 0 | 0 | 0 | 64.44 | 11312.48 | 99779.58 | 0 | 6516.13 | 2160.3 | 23619.63 | 3022.87 | 0
Crimson |  | Wfi-0.1 | 0 | 0 | 0 | 24.36 | 9.05 | 6.22 | 852925.88 | 8.7 | 10.83 | 7.66 | 18.11 | 4.34 | 0 | 0 | 0 | 0 | 0 | 0 | 78.74 | 49.72 | 0 | 0 | 0 | 0 | 0 | 0 | 74.74 | 11176.79 | 100016.58 | 0 | 6560.31 | 2307.18 | 23679.32 | 3041.45 | 0
Gold |  | Mgr-t-cf1 | 0 | 0 | 0 | 23.46 | 7.84 | 6.41 | 862575.69 | 6.99 | 4.97 | 0 | 106.95 | 0 | 81.87 | 0 | 0 | 0 | 0 | 0 | 1124.23 | 0 | 0 | 0 | 11426.44 | 0 | 124.84 | 13.89 | 62.3 | 90295.77 | 4344.62 | 632.55 | 869.98 | 22071.35 | 903.56 | 5314.01 | 0
Gold |  | Mgr-t-cf1 | 0 | 0 | 0 | 18.21 | 8.08 | 7.11 | 862917.19 | 8.16 | 6.53 | 3.35 | 107.77 | 0 | 86.05 | 0 | 0 | 0 | 0 | 0 | 1145.72 | 0 | 0 | 0 | 11197.86 | 0 | 121.97 | 16.82 | 75.49 | 90307.11 | 4354.29 | 613.35 | 833.43 | 21955.53 | 921.61 | 5273.86 | 0
Gold |  | Mgr-t-cf1 | 0 | 0 | 0 | 24.12 | 7.37 | 5.81 | 863178.88 | 9.53 | 7.39 | 4.12 | 106.53 | 0 | 85.9 | 0 | 0 | 0 | 0 | 0 | 1125.92 | 0 | 0 | 0 | 10981.2 | 0 | 127.65 | 0 | 58.79 | 90413.35 | 4326.14 | 581.5 | 909.44 | 21837.28 | 907.53 | 5300.97 | 0
Gold |  | Mgr-t-mp1 | 0 | 0 | 0 | 20.22 | 7.11 | 0 | 892071 | 3 | 5.94 | 0 | 122.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75247.39 | 3922.82 | 0 | 887.57 | 22192.92 | 565.86 | 4918.89 | 0
Gold |  | Mgr-t-mp2 | 0 | 0 | 0 | 18.46 | 6.77 | 5.14 | 891171.06 | 6.05 | 6.31 | 0 | 127.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76176.51 | 4006.14 | 0 | 885.75 | 22075.52 | 553.15 | 4931.28 | 0
Gold |  | Mgr-t-mp3 | 0 | 0 | 0 | 16.83 | 7.8 | 0 | 892427.44 | 5.45 | 4.5 | 0 | 124.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75602.85 | 3958.87 | 0 | 848.89 | 21541.88 | 558.43 | 4856.55 | 0
Crimson |  | Dic-0.4 | 0 | 0 | 8.56 | 21.91 | 8.62 | 5.32 | 954331.13 | 6.62 | 9.06 | 5.89 | 2.75 | 1.89 | 0 | 0 | 0 | 0 | 0 | 0 | 63.18 | 38.78 | 0 | 0 | 0 | 0 | 0 | 0 | 38.11 | 1366.84 | 33819.65 | 0 | 3593.96 | 2006.14 | 2287.58 | 2228.98 | 0
Crimson |  | Dic-0.3 | 0 | 0 | 0 | 19.23 | 7.86 | 5.84 | 961215.13 | 3.72 | 7.9 | 4.93 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43.48 | 37.12 | 0 | 0 | 0 | 0 | 0 | 0 | 28.86 | 1046.84 | 29423.06 | 0 | 2810.92 | 1663.43 | 2073.35 | 1604.96 | 0
Crimson |  | Dic-0.2 | 0 | 0 | 0 | 24.77 | 7.38 | 8.07 | 953352.06 | 9.28 | 10.62 | 6.24 | 3.69 | 2.08 | 0 | 0 | 0 | 0 | 0 | 0 | 64.94 | 39.94 | 0 | 0 | 0 | 0 | 0 | 0 | 43.25 | 1492.03 | 33960.89 | 0 | 3454.73 | 2879.18 | 2484.11 | 2148.47 | 0
Crimson |  | Dic-0.1 | 0 | 0 | 0 | 21.63 | 8.1 | 6.07 | 956767.88 | 6.79 | 9.26 | 4.83 | 2.43 | 1.91 | 0 | 0 | 0 | 0 | 0 | 0 | 59.86 | 43.33 | 0 | 0 | 0 | 0 | 0 | 0 | 40.39 | 1313.99 | 32097.94 | 0 | 3392.06 | 1885.97 | 2197.04 | 2131.22 | 0
Crimson |  | Ose-0.3 | 0 | 0 | 0 | 26.49 | 8.15 | 0 | 910013.56 | 7.69 | 10.37 | 6.73 | 17.97 | 2.72 | 0 | 0 | 0 | 0 | 0 | 0 | 21.24 | 36.97 | 0 | 0 | 0 | 0 | 0 | 0 | 49.36 | 8258.93 | 63764.27 | 0 | 6041.21 | 1569.77 | 6139.05 | 4021.78 | 0
Crimson |  | Ose-0.2 | 0 | 0 | 13.62 | 28.72 | 8.92 | 5.85 | 899168.19 | 10.43 | 12.31 | 8.82 | 20.73 | 2.92 | 0 | 0 | 0 | 0 | 0 | 0 | 37.1 | 57.62 | 0 | 0 | 0 | 0 | 0 | 0 | 45.23 | 9604.06 | 71497.13 | 0 | 6278.48 | 1507.45 | 7049.77 | 4598.59 | 0
Crimson |  | Ose-0.1 | 0 | 0 | 0 | 22.37 | 6.99 | 5.69 | 899571.56 | 7.3 | 9.77 | 6.46 | 15.99 | 2.12 | 0 | 0 | 0 | 0 | 0 | 0 | 25.39 | 47.13 | 0 | 0 | 0 | 0 | 0 | 0 | 39.78 | 9527.97 | 70534 | 0 | 6355.18 | 1858.08 | 7727.83 | 4186.35 | 0
Gold |  | Mgr-5.3 | 0 | 0 | 0 | 15.79 | 6.52 | 5.88 | 925659.69 | 4.41 | 4.45 | 0 | 62.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.44 | 45414.41 | 6663 | 0 | 786.77 | 17873.95 | 342.55 | 3080 | 0
Gold |  | Mgr-5.2 | 0 | 0 | 0 | 21.13 | 8.99 | 5.09 | 898349 | 6.31 | 7.87 | 3.45 | 71.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46.11 | 50312.25 | 7690.84 | 0 | 756.47 | 39202.76 | 319.83 | 3176.21 | 0
Gold |  | Mgr-5.1 | 0 | 0 | 0 | 25.46 | 6.28 | 6.91 | 918086.38 | 6.51 | 8.25 | 0 | 71.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53.93 | 49915.57 | 7360.89 | 0 | 817.7 | 19829.77 | 303.63 | 3443.38 | 0
Crimson |  | Dcy-0.3 | 0 | 0 | 17.63 | 21.24 | 6.91 | 5.54 | 901518.5 | 8.12 | 11.67 | 7.63 | 28.03 | 0 | 0 | 0 | 0 | 0 | 0 | 125.12 | 49.6 | 70.34 | 0 | 0 | 0 | 0 | 0 | 0 | 79.3 | 22448.51 | 53443.89 | 0 | 4339.59 | 554.93 | 14278.62 | 2966.45 | 0
Crimson |  | Dcy-0.2 | 0 | 0 | 0 | 26.46 | 9.25 | 9.03 | 877154.06 | 10.37 | 13.3 | 9.66 | 30.74 | 1.77 | 0 | 0 | 0 | 0 | 0 | 166.5 | 66.74 | 91.28 | 0 | 0 | 0 | 0 | 0 | 0 | 101.63 | 28640.85 | 65742.47 | 0 | 5399.63 | 1263.74 | 17519.01 | 3690.77 | 0
Crimson |  | Dcy-0.1 | 0 | 0 | 0 | 16.77 | 8.2 | 0 | 893851.63 | 8.97 | 11.95 | 7.4 | 28.08 | 2.08 | 0 | 0 | 0 | 0 | 0 | 157.32 | 56.39 | 72.19 | 0 | 0 | 0 | 0 | 0 | 0 | 108.84 | 24099.34 | 57208.09 | 0 | 4749.69 | 644.4 | 15622.36 | 3327.74 | 0
Gold | Fill triang | Mgr-4.3-Ti | 0 | 0 | 0 | 16.3 | 6.92 | 5.26 | 932946.31 | 1441.23 | 17.15 | 5.23 | 40.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.87 | 0 | 0 | 0 | 0 | 0 | 0 | 50.11 | 32185.62 | 13733.26 | 0 | 1043.16 | 14884.53 | 1971.88 | 1633.42 | 0
Gold |  | Mgr-4.3 | 0 | 0 | 0 | 23.32 | 9.87 | 4.55 | 928293.56 | 6.93 | 7.45 | 3.14 | 42.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.32 | 0 | 0 | 0 | 0 | 0 | 0 | 37.92 | 35284.55 | 14628.09 | 369.79 | 1192.71 | 16039.81 | 2188.21 | 1826.38 | 0
Gold |  | Mgr-4.2 | 0 | 0 | 0 | 19.91 | 9.93 | 6.1 | 914757.69 | 7.82 | 8.78 | 5.15 | 50.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.24 | 0 | 0 | 0 | 0 | 0 | 0 | 46.91 | 41988.65 | 17589.76 | 0 | 1360.73 | 19432.48 | 2541.88 | 2145.65 | 0
Gold |  | Mgr-4.1 | 0 | 0 | 0 | 21.59 | 8.2 | 7.28 | 922048.63 | 7.29 | 8.53 | 4.74 | 47.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.69 | 0 | 0 | 0 | 0 | 0 | 0 | 49.59 | 38628.54 | 16878.99 | 0 | 1329.96 | 16509.76 | 2417.55 | 2016.17 | 0
Gold | Fill triang | Mgr-3.3-Ti | 0 | 0 | 13.73 | 16.59 | 7.05 | 5.02 | 923212.19 | 1337.13 | 15.76 | 3.85 | 63.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54.3 | 44071.17 | 8841.12 | 0 | 941.69 | 17282.96 | 1730.42 | 2384.44 | 0
Gold |  | Mgr-3.3 | 0 | 0 | 0 | 21.09 | 7.03 | 3.81 | 920110.31 | 4.65 | 6.25 | 0 | 66.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.77 | 46919.07 | 9340.15 | 0 | 1013.46 | 18105.03 | 1826.57 | 2539.3 | 0
Gold |  | Mgr-3.2 | 0 | 0 | 11.63 | 20.55 | 8.31 | 7.53 | 919206.56 | 5.8 | 8.64 | 0 | 68.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52.53 | 49637.89 | 8991.74 | 0 | 998.99 | 16573.44 | 1794.05 | 2590.31 | 0
Gold |  | Mgr-3.1 | 0 | 0 | 0 | 20.73 | 6.81 | 5.81 | 920095.63 | 5.62 | 6.61 | 0 | 65.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.77 | 46024.15 | 8761.25 | 0 | 943.52 | 19711.1 | 1740.04 | 2543.5 | 0
Gold | Fill triang | Mgr-2.3-Ti | 0 | 0 | 0 | 23.6 | 7.55 | 4.54 | 920392.81 | 902.95 | 11.61 | 2.45 | 78.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40.86 | 49002.79 | 6036.99 | 0 | 803.12 | 20460.93 | 89.79 | 1942.24 | 0
Gold |  | Mgr-2.3 | 0 | 0 | 0 | 18.17 | 9.39 | 8.53 | 917964 | 3.64 | 5.21 | 0 | 77.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54.92 | 52128.8 | 5877.26 | 0 | 833.3 | 20873.78 | 121.27 | 2008.01 | 0
Gold |  | Mgr-2.2 | 0 | 0 | 0 | 12.04 | 7.8 | 4.87 | 921208.31 | 5.29 | 5.84 | 0 | 76.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69.68 | 51130.7 | 5556.55 | 631.02 | 813.58 | 18324.5 | 163.46 | 1990.26 | 0
Gold |  | Mgr-2.1 | 0 | 0 | 0 | 12.17 | 7.12 | 6.89 | 925702.06 | 4.26 | 5.42 | 0 | 79.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.93 | 43157.59 | 5789.24 | 546.99 | 728.93 | 22060.11 | 100.74 | 1731.84 | 0
Gold | Fill triang | Mgr-1.3-Ti | 0 | 0 | 0 | 21.4 | 6.14 | 0 | 906842.44 | 1929.44 | 21.43 | 7.2 | 76.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.1 | 0 | 0 | 0 | 0 | 0 | 0 | 39.8 | 56236.43 | 9794.57 | 0 | 1419.69 | 19252.73 | 1763.23 | 2565.15 | 0
Gold |  | Mgr-1.3 | 0 | 0 | 12.23 | 20.44 | 7.02 | 6.32 | 903891.75 | 6.86 | 9.34 | 3.34 | 84.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.66 | 59988.78 | 10577.47 | 0 | 1604.86 | 19291.4 | 1858.19 | 2576.85 | 0
Gold |  | Mgr-1.2 | 0 | 0 | 0 | 22.15 | 10.08 | 4.97 | 906708.13 | 5.65 | 8.68 | 0 | 76.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.19 | 57448.13 | 10253.62 | 0 | 1497.64 | 19638.9 | 1678.9 | 2588.63 | 0
Gold |  | Mgr-1.1 | 0 | 0 | 0 | 20.74 | 9.47 | 0 | 905058.5 | 7.34 | 9.27 | 3.18 | 76.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59024.15 | 10701.58 | 0 | 1490.32 | 18985.99 | 1692.23 | 2875.14 | 0
Crimson | Fill triang | Cfa-0.3-Ti | 0 | 0 | 0 | 16.06 | 6.59 | 0 | 922190.88 | 795.46 | 11.88 | 0 | 70.37 | 1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 29.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68.01 | 29948.75 | 22888.52 | 1993.05 | 1177.38 | 7709.58 | 10523.95 | 2546.84 | 0
Crimson |  | Cfa-0.3 | 0 | 0 | 12.07 | 21.5 | 4.95 | 4.95 | 915769.38 | 3.39 | 5.44 | 0 | 72.76 | 1.66 | 0 | 0 | 0 | 0 | 0 | 0 | 33.11 | 0 | 0 | 0 | 73.05 | 0 | 0 | 0 | 107.25 | 31430.79 | 24565.45 | 2836.68 | 1222.89 | 10029.92 | 11077.72 | 2714.82 | 0
Crimson |  | Cfa-0.2 | 0 | 0 | 0 | 17.18 | 5.89 | 6.83 | 929756.31 | 2.59 | 5.07 | 0 | 71.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31717.63 | 22592.72 | 0 | 1237.42 | 926.27 | 10882.83 | 2725.45 | 0
Crimson |  | Cfa-0.1 | 0 | 0 | 0 | 19.04 | 5.71 | 3.79 | 928756.81 | 3.33 | 3.42 | 0 | 69.19 | 1.71 | 0 | 0 | 0 | 0 | 0 | 0 | 26.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52.1 | 30937.28 | 23411.98 | 0 | 1230.15 | 2545.91 | 10135.63 | 2594.47 | 0
Cornflowerblue | Fill triang | Gbi-0.3-Ti | 0 | 0 | 0 | 19.66 | 9.15 | 7.43 | 919567.81 | 1559.78 | 21.41 | 4.72 | 58.17 | 2.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65.96 | 30770.08 | 34222.21 | 0 | 4501 | 2363.6 | 3819.17 | 2996.56 | 0
Cornflowerblue |  | Gbi-0.3 | 0 | 0 | 0 | 21.47 | 8.08 | 5.43 | 914073.25 | 6.43 | 9.73 | 2.74 | 61.66 | 2.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.15 | 0 | 0 | 0 | 0 | 0 | 0 | 56.72 | 33138.44 | 35487.26 | 937.83 | 4916.19 | 4058.62 | 3901.62 | 3285.88 | 0
Cornflowerblue |  | Gbi-0.2 | 0 | 0 | 18.18 | 25.99 | 9.19 | 7.76 | 915039.13 | 5.77 | 8.66 | 4 | 61.55 | 2.37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 63.21 | 31174.46 | 36829.61 | 700.54 | 4809.12 | 3503.46 | 4465.45 | 3259.68 | 0
Cornflowerblue |  | Gbi-0.1 | 0 | 0 | 0 | 20.93 | 7.44 | 4.75 | 911457.81 | 4.35 | 6.37 | 4.6 | 58.73 | 2.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56.34 | 0 | 0 | 0 | 145 | 30908.99 | 35637.56 | 1935.73 | 4290.67 | 8665.72 | 3768.77 | 3024.11 | 0

## Sheet6
SAMPLE
Gbi-0.3-Ti | Ginkgo biloba | Gb | Ginkgo biloba
Gbi-0.3 | Ginkgo biloba | Efl | Equisetum fluviata
Gbi-0.2 | Ginkgo biloba | Wfi | Woodwardia fimbriata
Gbi-0.1 | Ginkgo biloba | Mgr | Magnolia grandifolia
sdarm2 | USGS Soil QC standard SdAR-M2 | Dic | Dicksonia fibrosa
Efl-0.3 | Equisetum fluviata | Ose | Onoclia sensibilis
Efl-0.2 | Equisetum fluviata | Cfa | Cyrtomium falcatum
Efl-0.1 | Equisetum fluviata | Dcy | Dyopteris cyacadina
Wfi-0.3
Wfi-0.2
Wfi-0.1
Wfi-0.1
Wfi-0.1
Mgr-t-cf1
Mgr-t-cf2
Mgr-t-cf3
Mgr-t-mp1
Mgr-t-mp2
Mgr-t-mp3
sdarm2
Dic-0.4
Dic-0.3
Dic-0.2
Dic-0.1
Ose-0.3
Ose-0.2
Ose-0.1
Mgr-5.3
Mgr-5.2
Mgr-5.1
Dcy-0.3
Dcy-0.2
Dcy-0.1
sdarm2
Mgr-4.3-Ti
Mgr-4.3
Mgr-4.2
Mgr-4.1
Mgr-3.3-Ti
Mgr-3.3-Ti
Mgr-3.2
Mgr-3.1
Mgr-2.3-Ti
Mgr-2.3
Mgr-2.2
Mgr-2.1
Mgr-1.3-Ti
Mgr-1.3
Mgr-1.2
Mgr-1.1
sdarm2
Cfa-0.3-Ti
Cfa-0.3
Cfa-0.2
Cfa-0.1
sdarm2